## Boiler
Boiler
All highlighted fields must be filled in electronically. | [6 empty] | Professional Engineer (Stamp)
Building Owner: |  |  | Toronto Water
|  |  | Account No: | Client No: | Meter No:
Building Address:
Boiler Water Use
Monthly Meter Reading Date (mm/dd/yy) | Days | Make Up Water | Blowdown Water | EvaporationB |  | Conductivity Readings (To be provided if blowdown meter readings not available) | EvaporationC
|  | Meter No: | Meter No: | (Using Blowdown Meter Readings) |  |  | (Using Conductivity Readings)
|  | Meter Readings | Meter Readings
|  | (m³) | (m³) | (m³) |  | (mS/cm) | (m³)
Totals | 0 |  |  | 0 |  |  | #DIV/0!
|  |  | Prorated to 365 days: | #DIV/0! |  | Prorated to 365 days: | #DIV/0!
Evaporation Using Conductivity Readings (m³) is calculated using the following :
where the Average Conductiviity of Purchased Municipal Water is 322 .
If a portion of the make up water used is outside the Purchased Municipal Water, where conductivity would be different, include a separate calculation within the report.
Evaporation Using Conductivity Readings (m³) is calculated using the following :
〖𝐸𝑣𝑎𝑝𝑜𝑟𝑎𝑡𝑖𝑜𝑛〗_𝐶={𝐿𝑎𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³)− 𝐹𝑖𝑟𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³)}
− {(𝐿𝑎𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³) − 𝐹𝑖𝑟𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³) )/(((𝑡ℎ𝑒 𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑜𝑛𝑑𝑢𝑐𝑡𝑖𝑣𝑖𝑡𝑦 𝑅𝑒𝑎𝑑𝑖𝑛𝑔𝑠 (µ𝑆/𝑐𝑚))/(𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑜𝑛𝑑𝑢𝑐𝑡𝑖𝑣𝑖𝑡𝑦 𝑜𝑓 𝑃𝑢𝑟𝑐ℎ𝑎𝑠𝑒𝑑 𝑀𝑢𝑛𝑖𝑐𝑖𝑝𝑎𝑙 𝑊𝑎𝑡𝑒𝑟 (µ𝑆/𝑐𝑚))) )}
where the Average Conductiviity of Purchased Municipal Water is 322 µ𝑆/𝑐𝑚.
If a portion of the make up water used is outside the Purchased Municipal Water, where conductivity would be different, include a separate calculation within the report.