## Boiler & Cooling Tower
The column titles for this worksheet are in rows 2, and 10, on cells G2 and A10. The data spans cells A3 through H6, A8, and B11 through H29. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Boiler / Cooling Tower Form
All highlighted fields must be filled in electronically. | [6 empty] | Professional Engineer (Stamp)
Building Owner: |  |  | Toronto Water
|  |  | Account No: | Client No: | Meter No:
Building Address:
*Note: Conductivity Readings are required where blowdown meter readings are not available and where there is any discharge by-passing the blowdown meter.
Boiler / Cooling Tower Water Use
Monthly Meter Reading Date (mm/dd/yy) | Days | Make Up Water | Blowdown Water | EvaporationB |  | Conductivity Readings* | EvaporationC
|  | Meter No: | Meter No: | (Using Blowdown Meter Readings) |  |  | (Using Conductivity Readings)
|  | Meter Readings | Meter Readings
|  | (m³) | (m³) | (m³) |  | (mS/cm) | (m³)
Totals | 0 |  |  | 0 |  |  | #DIV/0!
|  |  | Prorated to 365 days: | #DIV/0! |  | Prorated to 365 days: | #DIV/0!
Evaporation Using Conductivity Readings (m³) is calculated using the following :
where the Average Conductiviity of Purchased Municipal Water is 322 .
If a portion of the make up water used is outside the Purchased Municipal Water, where conductivity would be different, include a separate calculation within the report.
Evaporation Using Conductivity Readings (m³) is calculated using the following :
〖𝐸𝑣𝑎𝑝𝑜𝑟𝑎𝑡𝑖𝑜𝑛〗_𝐶={𝐿𝑎𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³)− 𝐹𝑖𝑟𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³)}
− {(𝐿𝑎𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³) − 𝐹𝑖𝑟𝑠𝑡 𝑀𝑎𝑘𝑒 𝑈𝑝 𝑊𝑎𝑡𝑒𝑟 𝑀𝑒𝑡𝑒𝑟 𝑅𝑒𝑎𝑑𝑖𝑛𝑔 (𝑚³) )/(((𝑡ℎ𝑒 𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑜𝑛𝑑𝑢𝑐𝑡𝑖𝑣𝑖𝑡𝑦 𝑅𝑒𝑎𝑑𝑖𝑛𝑔𝑠 (µ𝑆/𝑐𝑚))/(𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑜𝑛𝑑𝑢𝑐𝑡𝑖𝑣𝑖𝑡𝑦 𝑜𝑓 𝑃𝑢𝑟𝑐ℎ𝑎𝑠𝑒𝑑 𝑀𝑢𝑛𝑖𝑐𝑖𝑝𝑎𝑙 𝑊𝑎𝑡𝑒𝑟 (µ𝑆/𝑐𝑚))) )}
where the Average Conductiviity of Purchased Municipal Water is 322 µ𝑆/𝑐𝑚.
If a portion of the make up water used is outside the Purchased Municipal Water, where conductivity would be different, include a separate calculation within the report.