|  |  |
| --- | --- |
| City of TorontoEngineering & Construction Services | **HYDROSTATIC LEAK TEST RECORD(FOR BURIED WATER & WASTEWATER PRESSURE PIPING)** |
| Date of Test:  |  |  |  |
| Test No.: |  | Retest: | Yes ⬜ No ⬜ |
| Project: |  | Project No.: |
| Contractor: |  | Inspector: |
|  | (Print Name) |
| Pipeline Identification: |  |
|  |
| Location of Test: |  |
|  |
| Test From: | To: | Test Fluid: |
|  (Station) |  (Station) |  |
| Test Specification: |  |
|  |
| For \_\_\_\_\_\_\_\_\_\_\_\_\_\_ metres, pipe diameter of \_\_\_\_\_\_\_\_\_\_\_\_ makeup water = \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ litres ( length) (mm) |
| First Test: □ Subsequent Test: □ |
| **Allowable Leakage (L) Test Computation:** |  |
|  |
| Refer to OPSS 441.07.24.03 which states the allowable leakage of 0.082 litres per millimetre of pipe diameter per kilometre of pipe for a 2-hour test period. |
|  |
| **Remarks:** |  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
| **Contractor Certification:** | **Inspector:** |
|  |  |  |
| Signature Signature |
|  |  |  |
| Title Title |
|  |