|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| City of Toronto  Engineering & Construction Services | | | | **HYDROSTATIC LEAK TEST RECORD (FOR BURIED WATER & WASTEWATER PRESSURE PIPING)** | | | | | | |
| Date of Test: | |  | | | | |  | | |  |
| Test No.: | |  | | | | | Retest: | | | Yes ⬜ No ⬜ |
| Project: | |  | | | | | Project No.: | | | |
| Contractor: | |  | | | | | Inspector: | | | |
|  | | | (Print Name) |
| Pipeline Identification: | |  | | | | | | | | |
|  | | | | | | | | | | |
| Location of Test: | |  | | | | | | | | |
|  | | | | | | | | | | |
| Test From: | | | To: | | | | | | | Test Fluid: |
| (Station) | | | (Station) | | | | | | |  |
| Test Specification: | | | | | | | |  | | |
|  | | | | | | | | | | |
| For \_\_\_\_\_\_\_\_\_\_\_\_\_\_ metres, pipe diameter of \_\_\_\_\_\_\_\_\_\_\_\_ makeup water = \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ litres  ( length) (mm) | | | | | | | | | | |
| First Test: □ Subsequent Test: □ | | | | | | | | | | |
| **Allowable Leakage (L) Test Computation:** | | | | |  | | | | | |
|  | | | | | | | | | | |
| Refer to OPSS 441.07.24.03 which states the allowable leakage of 0.082 litres per millimetre of pipe diameter per kilometre of pipe for a 2-hour test period. | | | | | | | | | | |
|  | | | | | | | | | | |
| **Remarks:** |  | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
|  | | | | | | | | | | |
| **Contractor Certification:** | | | | | | | **Inspector:** | | | |
|  | | | | | |  | | |  | |
| Signature Signature | | | | | | | | | | |
|  | | | | | |  | | |  | |
| Title Title | | | | | | | | | | |
|  | | | | | | | | | | |