## Watermain Application
MECP DRINKING WATER WORKS PERMIT FOR WATERMAIN WORKS FORM 1 APPLICATION SUBMISSION CHECKLIST (JULY 2024)
PROJECT NAME:
SITE ADDRESS /STREET NAME(S): |  | Ward:
PLEASE SUBMIT ELECTRONIC COMPLETED APPLICATION PACKAGE INCLUDING ALL FINAL DOCUMENTS IN PDF /WORD /EXCEL FORMAT TO DWWP-ECA@toronto.ca THROUGH ECS CASE MANAGER. APPLICATION SUBMITTED DIRECTLY BY DEVELOPER /CONSULTANT IS NOT ACCEPTED.
PLEASE INCLUDE THIS CHECKLIST SHEET IN THE APPLICATION PACKAGE
DOCUMENTATION REQUIRED INCLUDES THE FOLLOWING:
APPLICATION REQUIREMENTS |  | Yes / No /NA
1 | City Cover Letter/Memo (signed /dated), include the following information:
(i) Contract Number (for internal applications);
(ii) Description of proposed watermain works, indicating total length of proposed pipes;
(iii) Estimated cost for proposed watermain works;
(iv) Review fee amount;
(v) Account No. that the review fee will be transferred from (for internal applications);
(vi) For internal applications (i.e. City's capital projects), statement confirming that Toronto Water has reviewed the proposed project and granted their approval in principle;
(vii) For external applications (i.e. Development and Third Party & Utility Review projects), statement confirming that they have a Memorandum of Understanding with Toronto Water to conduct review on their behalf.
2 | Review and Administration Fee Payment/Remittance Advice, include one of the following: - For internal applications: City's Cover Letter /Memo indicating fee amount (i.e., flat rate as per Toronto Municipal Code, Chapter 441, Appendix D - Schedule 2) and the account No. from which the fee will be transferred; - For external applications: Payment/Remittance Advice of Electronic Funds Transfer (EFT) or Wire Payment /guaranteed funds (i.e. certified cheque /Bank Draft /Money Order, payable to 'Treasurer, City of Toronto', including payer's name and mailing address). Note: Payment/Remittance Advice should include caption ‘Transfer of Review /Drinking Water Works Permit Fee’ and the payment details (i.e., payer's name and mailing address, project name /location, payment date and reference No., etc.). Please contact DWWP-ECA@toronto.ca for City's account information prior to making EFT /wire payment.
3 | Form 1 - Record of Watermains Authorized as Future Alteration (Current version posted on MECP website) Signed and dated electronically by a Professional Engineer (i.e. nomally who stamps engineering drawings and is the technical contact of the application) and an authorized representative of the owner - the City of Toronto (i.e., Directors and Managers of either Toronto Water or Engineering and Construction Services). Note: Signature must be real. Typed digital signature is not accepted for legal reasons.
4 | Supplement A Form Signed and dated electronically by an authorized representative of the proponent. - For internal applications, signing authorities are the managers or directors of either Toronto Water or Engineering and Construction Services; - For external applications, signing authorities are the persons who are listed in the Proof of Legal Name (e.g., Articles of Incorporation, Master Business Licence, Certificate of Status, or the most recently updated Corporate Profile Report). Note: Signature must be real. Typed digital signature is not accepted for legal reasons.
5 | Supplement B Form (if proponent is not the land owner) Signed and dated electronically by an authorized representive of land owner. If there are multiple land owners, each owner must provide and sign/date a Supplement B Form. For external applications, a ECS manager must sign this form. Note: Signature must be real. Typed digital signature is not accepted for legal reasons.
6 | Proof of Legal Name (for external applications) - If Proponent is a Corporation, provide a Proof of Legal Name (e.g., Articles of Incorporation, Master Business Licence, Certificate of Status, Articles of Continuance, Articles of Amendment, or the most recently updated Corporate Profile Report, etc.). - If Proponent is an individual, provide a copy of his/her passport, birth certificate or driver's licence (if the proponent wishes to present his/her passport or birth certificate to the Transfer of Review Program at the time of delivery of the application).
7 | Pipe Data Form (Current version posted on MECP website) Identifying all proposed watermain works that require approval, as well as sewer works included in the same project.
8 | Letter-size key plan - highlighting the proposed watermain works that require approval. As a minimum, the key plan should show a north arrow, pipe diameter, length and material, street name, and distances from upstream and downstream ends of proposed watermains to the centrelines of the nearest street intersection. Multiple key plans are acceptable and/or required to show information at a legible scale.
9 | Engineering drawings - stamped, signed and dated by a Professional Engineer Note: Engineering drawings must be final and should be in accordance with City's Design Criteria for Sewers and Watermains. All applicable standards should be listed on the General Notes drawing. Please coordinate with ECS case manager for the latest version of the General Notes drawing.
10 | Hydraulic Analysis Report with a confirmation of approval by Toronto Water, Analytic Services Unit (e.g. e-mail correspondance) - Required for proposed watermain in 300mm diameter or greater which is not initiated by Toronto Water (i.e. external applications). Note: 1) This requirement does not apply for the modification or replacement of an existing watermain or section of existing watermain in 6.1m long or less (Short Length Watermain) since it is exempted from a complete Form 1 application. Visit the City website for alterations to drinking water and sewage infrastructure for specific conditions and submissions requirements for Short Length Watermain. 2) The requirements for Hydraulic Analysis are listed below.
11 | MECP F-6-1 compliance letter indicating what additional design factors have been implemented if i) horizontal and/or vertical clearance does not comply with MECP Procedure F-6-1 and /or ii) proposed watermain is not laid below frost penetration depth for the area at all points. Note: Minimum cover for a watermain is 1.8m stated in the City's Design Criteria for Sewers and Watermains. Should this cover not be possible, refer to City Standard No. T-708.01-4, ''Insulation Details for Water Main & Service Connections'' for the placement of insulation to guard against frost penetration. Should this standard not be applicable, calculations are required to estimate frost penetration. Provide details and show the location(s) of insulation on all drawings.
12 | TRCA Consent (if proposed works are located within TRCA regulated land) Provide evidence that notification and/or approval has been sought or granted (e.g., TRCA correspondance and /or Permit) and include backup documentation.
13 | Railway Company Consent (if proposed works cross railway right-of-ways or are located within 300m of a live railway) Provide evidence that notification and/or approval has been sought or granted (e.g. railway company's correspondance) and include backup documentation.
14 | TTC Consent (if proposed works cross or are located close to TTC tracks) Provide evidence that notification and/or approval has been sought or granted (e.g., TTC correspondance) and include backup documentation.
15 | Easement /Encroachment Agreement with associated Registered Plan (if proposed works are located on private property not owned by the City) Provide a copy of executed aggreement if available or written documentation confirming that such agreement is in the process together with associated Registered Plan. All applicable easements /encroachment have to be labelled on all drawings.
16 | 3rd Party Consents (if proposed works involves relocation of 3rd party's utilities (e.g. gas main) or uses /accesses 3rd party's land (e.g. hydro corridor)) Provide evidence that notification and/or approval has been sought or granted (e.g., 3rd party's correspondance) and include backup documentation.
17 | Source Water Locations At connections to existing watermains, either show TS&V as per the City's new Watermain Installation Procedure or add text note, e.g. ''Water Source Supply'', pointing to the connections on plan and profile drawings.
18 | Excel file for Pipeline Coordinates (NAD83 CSRS MTM Zone 10) from end to end, including columns of Type of Water (i.e. Drinking Water), Street Name, From (Street), To (Street), Diameter (mm), Box Height (m), Box Width (m), From X1 (Easting), From Y1 (Northing), To X2 (Easting), and To Y2 (Northing). Note: If pipeline(s) is on curved street, please break down to multiple lines to ensure the pipeline(s) runs along the street. The Pipeline Coordinates Template is provided in the sheet ''Pipeline Coordinates''.
Note: The above checklist is provided only to facilite the review and to check the currency and the validity of the information. The onus is on the proponent to provide the required information.
HYDRAULIC ANALYSIS REQUIREMENTS:
• | Written letter/report confirming that a hydraulic analysis on the water distribution and transmission system has been completed including indication of that proposed watermain has been reviewed from a system performance perspective and either improves the system or maintain status-quo (based on the existing conditions). System performance characteristics to be reviewed are not limited to: - Pressures (under various operating conditions as required) - Flows (capacity of the pipe to carry adequate flow for operational conditions) - Velocities (to ensure velocity does not exceed maximum guidelines and is not 0 m/s for a significant amount of time) - Headloss
• | At a minimum, for pipes and pipe systems that are being replaced like for like, the hydraulic analysis must review and document any changes that differ from the existing system and provide input (in the form of a document or calculations with a write-up) that demonstrate the "to be" condition has little to no impact on system performance under various operating conditions.
• | Identification of any assumptions made during analysis. Assumptions should be documented and reviewed with an adequate explanation as to why the assumptions used are valid (i.e. only fire flow condition used – need to demonstrate that the fire flow condition would be the most extreme case based on the other flow conditions).
• | When possible, field data should be collected to demonstrate the "as is condition". If field data is not available or cannot be collected, data on recent operating conditions should be obtained by DE Case Manager (through internal TW Intake process) to form the baseline for the analysis.
• | Hydraulic analysis, at a minimum must contain hydraulic calculations to demonstrate and compare the baseline to the various characteristics of the operating conditions. The creation and incorporation of a hydraulic model would be beneficial for reporting purposes as well as to be used to model possible implementation situations (ie. staged watermain shuts).
• | If it is determined that the system is negatively impacted in terms of pressures and availability of flows, a section related to mitigation measures should be included and the analysis should be updated with an additional scenario considering implementation of the mitigation measures
• | A description of how the existing condition was determined
• | Justification for the proposed required size of the new/replaced watermain
• | Justification for how the new/replaced watermain will improve the system or its maintain status quo
• | The letter/report is to be signed and stamped by a qualified professional engineer who has expertise in the field.
Note: Networks or multiple replacements required for development would require a more extensive report, including field monitoring, modelling, demand calculations, etc. to address the analyses requirements.
ELECTRONIC FILE INSTRUCTION:
1 | Each electronic file should be properly named to describe the document, e.g., ECA Form, Pipe Data Form, Engineering Drawings, Key Plan, FSR /SWM Report, etc. Abbreviation is acceptable.
2 | Each type of document must be submitted as a separate file. Combined file of different types of documets is not accepted.
3 | Mutiple pages of same type of document (e.g. engineering drawings) must be grouped into a single PDF file.
4 | All files must be submitted without any restrictions.
RESOURCE:
For more information, visit the City website for alterations to drinking water and sewage infrastructure
https://www.toronto.ca/services-payments/water-environment/water-sewer-related-permits-and-bylaws/water-related-permits/alterations-to-drinking-water-infrastructure/

## Pipeline Coordinates
PIPELINE COORDINATES TABLE
Application ID | Type of Water | Street | From | To | Diameter (mm) | Box Height (m) | Box Width (m) | From X1 | From Y1 | To X2 | To Y2
| Drinking Water | [Street Name] | [Appro. xm of W/E/N/S of] [Street Name] | [Appro. xm of W/E/N/S of] [Street Name]
| Drinking Water | [Street Name] | [Appro. xm of W/E/N/S of] [Street Name] | [Appro. xm of W/E/N/S of] [Street Name]
| Drinking Water | [Street Name] | [Appro. xm of W/E/N/S of] [Street Name] | [Appro. xm of W/E/N/S of] [Street Name]
Note:
1) Coordinate system is NAD83 CSRS MTM Zone 10.
2) Leave column ''Application ID'' blank.
3) Column ''Street'' is the location of pipleline
4) Columns ''From'' and ''To'' are the distances from the ends of pipe to the centreline of the nearest street intersection ([Street Name]).
5) Columns ''Diameter'', ''Box Height'' and ''Box Width'' must be valid number of pipe size.
6) Columns ''From X1'' and ''From X2'' are Easting coordinates, which must be a number between 290,000 and 340,000.
7) Columns ''To Y1'' and ''To Y2'' are Northing coordinates, which must be a number between 4,820,000 and 4,865,000.
8) If pipeline(s) is on curved street, please break down to multiple lines to ensure the pipeline(s) runs along the street.