## Sewer Application
City Of Toronto Application Checklist for Sewage Works under Consolidated Linear Infrastructure Environmental Compliance Approval (CLI ECA Nos. 010-W601 for Sewage Collection System & 010-S701 for Stormwater Management System) (June 2025)
Applicants shall prepare an application package in accordance with this Checklist, including all applicable documents that must be final and submit to the City’s case manager. A completed Checklist shall be included in the application package to facilitate the review and to check the currency and validity of information. The onus is on applicants to provide the required information. A completed application must be submitted by City’s case manager or on his/her behalf to Toronto Water, Approvals and Partnerships (AP) at DWWP-ECA@toronto.ca. Applications submitted by external applicants /consultants will not be accepted by AP. Please contact us if you have any questions.
Project Site Location (Address or Street Name(s)):
Proposed works (check all that apply):
sanitary sewer ___ sanitary trunk sewer ___ sanitary forcemain ___ sanitary pumping station ___ sanitary inverted siphon___ combined sewer replacement ___ combined inverted siphon ___ combined pumping station ___ storm sewer ___ ditch ___ culvert ___ storm trunk sewer ___ storm forcemain ___ storm inverted siphon ___ stormwater pumping station ___ oil grit separator/filter device ___ underground storage ___ infiltration trench ___ bioretention ___ bioswale ___ permeable pavement ___ perforated pipe system ___ wet pond ___ dry pond ___ Others (please specify):
Required Documentation (check all):
1 | City Cover Letter/Memo, signed /dated, including the following information at minimum: i) Contract number (for internal applications) ii) Description of proposed sewage works, indicating total pipe lengths of all types of sewers (i.e. sanitary, storm, and /or combined sewers) iii) Estimated cost of of proposed works iv) Review fee amount v) Account number that the review fees will be transferred from (for internal applications) vi) A statement confirming that proposed works do not impact Indigenous treaty rights or asserted rights (A direct submission to the Ministry of Environment, Conservation and Parks (MECP) is required if there is any impact.) Note: If the application includes proposed watermain works, provide only one letter to include required information as per the Application Checklist for Watermain Works under the Drinking Water Works Permit.
2 | Review and Administration Fee Payment Remittance Advice (flat fee rates as per Toronto Municipal Code, Chapter 441, Appendix D, Wastewater Services) - For internal applications: City's Cover Letter /Memo, indicating fee amount and the account number from which the fee will be transferred. - For external applications: Payment remittance advice (for Electronic Funds Transfer (EFT) or wire payment) or guaranteed funds (i.e., certified cheque /bank draft /money order, payable to 'Treasurer, City of Toronto', including payer's name and mailing address). Note: The payment remittance advice shall include caption “ECA review fee”, payer's name and mailing address, project name/location, payment date, reference number, etc. Please contact DWWP-ECA@toronto.ca for the City's account information prior to making an EFT /wire payment.
3 | MECP Form(s) SS1, SS2, CS1, SW1, SW2 and /or SW3 (must be current version posted on MECP website) i) Part 3 - Verification by Licensed Engineering Practitioner signed /dated electronically by a Licensed Engineering Practitioner who stamps engineering drawings and is the technical contact of the application ii) Part 4 - Verification by Owner signed and dated electronically by the City's authorized representatives (i.e., directors or managers of Toronto Water (TW) or Engineering and Construction Services (ECS) or Development Review (DR)) Note: a) Part 5 - Post Construction Verification by Owner does not need to be signed /dated at approval stage. b) Typed digital signature will not be accepted.
4 | Supplement A Form, signed and dated electronically by an authorized representative of applicant - For internal applications, City’s authorized representatives are the managers or directors of TW or ECS or DR - For external applications, authorized representatives are the persons listed in the Proof of Legal Name document who can grant anyone signing authority in writing Note: Typed digital signature will not be accepted.
5 | Supplement B Form (required if applicant does not own the land where proposed works are to be constructed), signed and dated electronically by an authorized representative of the landowner Note: a) Typed digital signature will not be accepted. b) If the land is City owned, a City’s manager or director of TW, ECS or DR shall sign /date this form. c) If there are multiple landowners, each of them shall sign/date this form. d) If landowner(s) other than the City do not sign the Supplement B Form, each landowner must provide a written document, including their name and address, to consent to the construction of proposed works on their lands.
6 | Proof of Legal Name (for external applications) - If applicant is a corporation, provide a copy of Articles of Incorporation or other applicable documents (e.g., Master Business Licence, Certificate of Status, Articles of Continuance, Articles of Amendment, or the most recently updated Corporate Profile Report). - For individual applicants, the applicant has the option to present the Proof of Legal Name document (e.g. passport or birth certificate or driver's licence) instead of sending it to AP at the time of delivery of the application).
7 | Letter-size key plan, highlighting the proposed works which requires approval. As a minimum, the key plan should show a north arrow, pipe diameter, length and material, stormwater management facilities (if applicable), street name and distances from upstream and downstream ends to the centrelines of the nearest street intersection. Multiple key plans are acceptable and/or required to show information at a legible scale
8 | Engineering drawings, sealed, signed and dated by a Professional Engineer Note: a) Engineering drawings must be final and shall be in accordance with City's Design Criteria for Sewers and Watermains. b) All applicable standards shall be listed on the General Notes drawing. Please coordinate with City’s case manager for the latest version of the General Notes drawing. c) Drainage Area Plan(s) for pre- and post-development are required for development projects.
9 | Erosion and Sediment Control (ESC) Plan, providing any one of following documents: 1) General Notes drawing including ESC 2) ESC drawing(s) 3) ESC plan 4) Functional Servicing Report including ESC plan
10 | Excel file for Pipe Coordinates (NAD83 CSRS MTM Zone 10) Note: The Pipeline Coordinates Template is provided in a separate sheet in this checklist.
Other Documentation (check if applicable):
11 | Pipe Data Form (must be current version), identifying all proposed sewer works that require approval. If application includes proposed watermain works, provide only one form including all proposed works
12 | Sewer Design Sheet(s) for storm, sanitary and /or combined Sewer Note: Sewer design sheets must include calculations for at least one leg of existing sewers immediate downstream of proposed sewers as a minimum confirmation that the existing downstream system has capacity to receive the proposed flow without any adverse effects
13 | Functional Servicing Report and /or Design Brief Note: Design Brief shall include background of the project, scope of proposed works, design requirements /criteria, existing sewer capacity, compliance with relevant MECP procedure (e.g. F-5-5, F-6-1, etc.), conclusion, etc.
14 | Stormwater Management Report if the application includes stormwater management works, including detailed calculations/demonstration for the achievement of the Stormwater Management Criteria set in Appendix A in accordance with the CLI ECA No. 010-S701
15 | Oil/Grit Separator Sizing Report /Technical Data Sheet /Manufactured Treatment Device Summary Form, including information on total catchment area, sediment storage capacity (in m3 or litre), oil storage capacity (in m3 or litre), total capacity (in m3 or litre), and maximum treatment flow rate
16 | Approval Exemption letter for on-site stormwater management works if applicable, confirming that they are exempt from approval under O. Reg. 525/98 or a direct submission to MECP for Approval has been submitted or will be submitted in the future
17 | Mechanical Engineer Letter confirming maximum groundwater/foundation drain discharge rate if there will be groundwater/foundation drain discharging to sanitary, storm, or combined sewer together with one of documents listed below: 1) Executed Private Water Discharge Agreement (PWDA) 2) TW Environmental Monitoring and Protection (EMP) correspondence for the progress of PWDA 3) Exemption Letter granted by TW AP 4) TW AP correspondence for the progress of discharge exemption Note: a) Proposed discharge rate must be included in Sewer Design Sheet. b) If discharging to combined sewer is accepted by TW, MECP F-5-5 compliance is requried.
18 | Contingency plan for emergency and pump failure situation if the application includes pumping station(s)
19 | Contingency plan for possible overflows if the application includes forcemain(s) or siphon(s)
20 | MECP F-6-1 compliance letter indicating implemented additional design factors if horizontal or vertical clearance between proposed sewer and existing /proposed watermain does not comply with MECP Procedure F-6-1
21 | MECP F-5-5 compliance letter for rehabilitation and /or replacement of existing combined sewer and /or combined sewer offset, including rationales, flow comparison under existing and proposed conditions for 2-year design storm, etc. Note: relocation of existing combined sewer is not allowed for relocating to an alternate route (i.e. new street).
22 | Landowner Consent if proposed sewage works discharge to a land or works that are not owned by the applicant
23 | TRCA or MNRF District Office Consent if stormwater works discharge to watercourse directly. Provide a copy of TRCA Permit or MNRF consent
24 | TRCA Consent if proposed works are located within TRCA regulated area or TRCA land. Provide a copy of TRCA Permit or correspondence
25 | Railway Company Consent if proposed works cross railway right-of-way or are located within 300m of a live railway. Provide a copy of notification to railway company or their correspondence or consent
26 | TTC Consent if proposed works cross or are located close to TTC tracks. Provide a copy of TTC correspondence, consent or sign-off on Toronto PUCC (Public Utilities Coordinating Committee)
27 | Third Party Consent(s) if proposed works involve relocation of third party's utilities (e.g. gas main) or use /access third party's land (e.g. hydro corridor). Provide a copy of third party's correspondence or consent
28 | TW D&C Trunk Sewer Unit Consent if proposed works connect to a trunk sewer directly. Provide a copy of TW D&C Trunk Sewer Unit consent (e.g. meeting minutes, emails, etc.)
29 | Easement /Encroachment Agreement with associated Registered Plan if proposed works are located on lands not owned by the City Note: if the executed Agreement is not available, provide a written documentation confirming that such agreement is in the process. All applicable easements /encroachments must be labelled on all drawings.
30 | Notice of Completion of Class Environmental Assessment (EA) if Municipal Class EA Schedule B or C applies
31 | Cover page of Environmental Study Report if Municipal Class EA Schedule C applies
ELECTRONIC FILE INSTRUCTION:
1 | Each electronic file should be properly named to describe the document, e.g., Form SS1, Pipe Data Form, Engineering Drawings, Key Plan, FSR /SWM Report, etc. Abbreviation is acceptable.
2 | Each type of document must be submitted as a separate file. A combined file of different types of documents will not be accepted.
3 | Multiple pages of the same type of documents (e.g. engineering drawings) must be grouped into a single file.
Note: All files must be submitted without any access restrictions or limitations.
For more information, please visit City’s page on |  | Alterations to Drinking Water and Sewage Infrastructure

## Pipeline Coordinates
PIPELINE COORDINATES TABLE
Application ID | Type of Water | Street | From | To | Diameter (mm) | Box Height (m) | Box Width (m) | From X1 | From Y1 | To X2 | To Y2
| Combined | [Street Name] | [Appro. xm of W/E/N/S of] [Street Name] | [Appro. xm of W/E/N/S of] [Street Name]
| Sanitary | [Street Name] | [Appro. xm of W/E/N/S of] [Street Name] | [Appro. xm of W/E/N/S of] [Street Name]
| Storm | [Street Name] | [Appro. xm of W/E/N/S of] [Street Name] | [Appro. xm of W/E/N/S of] [Street Name]
Note: 1) Coordinate system is NAD83 CSRS MTM Zone 10. 2) Leave column ''Application ID'' blank. 3) Column ''Street'' is the location of pipeline. 4) Columns ''From'' and ''To'' are the distances from the ends of pipe to the centreline of the nearest street intersection ([Street Name]). 5) Columns ''Diameter'', ''Box Height'' and ''Box Width'' must be valid number. 6) Columns ''From X1'' and ''From X2'' are Easting coordinates, which must be a number between 290,000 and 340,000. 7) Columns ''To Y1'' and ''To Y2'' are Northing coordinates, which must be a number between 4,820,000 and 4,865,000. 8) If pipeline(s) is on curved street, please break down to multiple lines to ensure the pipeline(s) runs along the street.