## Cover
Net Zero Building Retrofit Guides
GHG Emission Reduction Calculator

## GHG Emission Calculator
GHG Emission Reduction Calculator
This tool can be used to estimate the potential reduction in greenhouse gas emissions, energy savings and utility costs from a selected net zero retrofit measure.
| Instructions - To begin, input the characteristics of your building. Then select a net zero retrofit measure that you are considering. Lastly, input the building's current energy data if it's known. |  |  |  | By implementing the selected net zero measure,
you're not just making a change for your building—you're making a difference for the planet.
| ❶ Input your building characteristics |  |  | Building Type Assumption: |  | Energy Savings: |  | You'll see a reduction of | per year, saving |  | on the building's energy use.
|  | Building Type: |  | #N/A |  | Utility Costs:
|  | Area: | ft² |  |  | GHG Emissions: |  | Most importantly, this retrofit will decrease the building's emissions by |  |  |  | a decrease of
| ❷ Select your net zero retrofit measure | [6 empty] | helping you achieve a reduction in your carbon footprint.
Retrofit Measure:
Estimated Annual Total Building Energy (ekWh)
❸ Input your building energy data
[6 empty] | Chart View: | Energy (ekWh)
|  | Enter your building energy use (if known). If energy use is not known, the following default values will be used based on the building characteristics inputted: |  |  | Energy (ekWh) |  |  |  |  | While some operational costs may increase, the long-term benefits remain impactful. The reduction of carbon emissions from the selected retrofit is equivalent to:
Default Value:
|  | Natural Gas Use: | m³/year | 0 m³/year
|  | Electricity Use: | kWh/year | 0 kWh/year
|  | Is the building connected to District heating system? | [8 empty] | acres of forest carbon sequestration in one year
|  | District Heating Energy Use: |  | Default Value:
|  |  | ekWh/year | 0 ekWh/year
Enter your energy use cost rates (if known), excluding delivery costs. If energy rates are not known, the following default value will be used:
avoided km driven by an average gas car
Default Value:
|  | Natural Gas Rate: | $/m³ | $0.15 / m³
|  | Electricity Rate: | $/kWh | $0.13 / kWh
|  | District Heating Rate: | $/kWh | $0.11 / ekWh ⓘ
Note on H42: Note District energy costs vary widely, so it is strongly recommended to enter a user-defined district heating rate. Review your district energy utility bill or contact your provider to obtain this rate.

## Tool Calc Sheet (hidden)
Tool Calc Sheet
Metric | Unit |  | Notes
Retrofit Measure | Text | 0 | Pull from front end
Building Type | Text | 0 | Pull from front end
Building Vintage | Text | #N/A | Pull from EUI/m2 database
Area | ft2 | 0 | Pull from front end
Area | m2 | 0 | Formula - Converts to m2
Natural Gas Use Intensity/m2 | kWh/ft2 | 0 | Pull from Existing Building EUI Database
Electricity Use Intensity/m2 | kWh/ft2 | 0 | Pull from Existing Building EUI Database
Total Energy Use Intensity/m2 | kWh/ft2 | 0 | Pull from Existing Building EUI Database
Existing Building Values
Existing NG Use Default | kWh | 0 | Formula - area * energy use intensity
Existing NG Use Default | m3 | 0 | Formula - Converts to m3
Existing NG Use User Input | m3 | 0 | Pull from front end
Existing NG Use User Input | kWh | 0 | Formula - Converts to m3 | Gas m3 To kWh Calculator: Gas Cubic Meter To kWh Conversion + Chart - LearnMetrics
Natural Gas Use | kWh | 0 | Formula - NG Use Default or User Input
Existing Electricity Use Default | kWh | 0 | Formula - area * energy use intensity
Existing Electricity Use User Input | kWh | 0 | Pull from front end
Electricity Use | kWh | 0 | Formula - Elec Use Default or User Input
Connected to District? | kWh | 0 | Pull from front end
Existing District Energy Use Default | kWh | 0 | Formula - area * energy use intensity
Existing District Energy Use User Input | kWh | 0 | Pull from front end
District Energy Use | kWh | 0 | Formula - DES Use Default or User Input
Existing Total Energy Use | kWh | 0 | Formula elec use kWh + NG use kWh
NG Emission Rate | kg CO2e/m3 | 1.921 | Constant Value | Table 1.2 used for Ontario, Marketable - https://www.canada.ca/en/environment-climate-change/services/climate-change/pricing-pollution-how-it-will-work/output-based-pricing-system/federal-greenhouse-gas-offset-system/emission-factors-reference-values.html#fn3
NG Emission Rate | kg CO2e/kWh | 0.18209 | Formula - Converts to kWh
Electricity Emission Rate | kg CO2e/kWh | 0.038 | Constant Value | Table 5.2 used for Ontario - https://www.canada.ca/en/environment-climate-change/services/climate-change/pricing-pollution-how-it-will-work/output-based-pricing-system/federal-greenhouse-gas-offset-system/emission-factors-reference-values.html#toc8
District Emission Rate | kg CO2e/kWh | 0.21719 | Constant Value - District Steam Rate
Low Carbon District Emission Rate | kg CO2e/kWh | 0.05 | Constant Value - Assumed Low Carbon District Energy Rate | (BC DES Calculator Tier 2) https://www2.gov.bc.ca/assets/gov/environment/climate-change/cng/calculators/des_calculator.xlsx
Existing NG Emissions (kg CO2e) | kg CO2e | 0 | Formula - energy Use * Emission Rate
Existing Electricity Emissions (kg CO2e) | kg CO2e | 0 | Formula - energy Use * Emission Rate
Existing District Emissions (kg CO2e) | kg CO2e | 0 | Formula - energy Use * Emission Rate
Existing Total Emissions (kg CO2e) | kg CO2e | 0 | Formula - Sum of emissions
Existing NG Rate Default | $/kWh | 0.014218 | Constant Value | Max based on https://www.oeb.ca/consumer-information-and-protection/natural-gas-rates
Existing NG Rate User Input | $/m3 | 0 | Pull from front end
Existing NG Rate User Input | $/kWh | 0 | Formula - Converts to kWh
Existing NG Rate | $/kWh | 0.014218 | Formula - NG Use Default or User Input
Existing Electricity Rate Default | $/kWh | 0.13033 | Constant Value | Average based on https://www.oeb.ca/consumer-information-and-protection/electricity-rates
Existing Electricity Rate User Input | $/kWh | 0 | Pull from front end
Existing Electricity Rate | $/kWh | 0.13033 | Formula - Elec Use Default or User Input
Existing District Energy Rate Default | $/kWh | 0.11 | Constant Value | (Assumes $110/mWh) https://www.surrey.ca/about-surrey/sustainability-energy-services/surrey-city-energy/district-energy-rates-and-billing
Existing District Energy Rate User Input | $/kWh | 0 | Pull from front end
Existing District Energy Rate | $/kWh | 0.11 | Formula - DES Use Default or User Input
Exsiting Natural Gas Cost | $ | 0 | Formula - energy use * energy cost
Existing Electricity Cost | $ | 0 | Formula - energy use * energy cost
Existing District Energy Cost | $ | 0 | Formula - energy use * energy cost
Existing Total Energy Costs | $ | 0 | Formula - energy use * energy cost
Energy Savings - Retrofit
Electricity Use Lower | kWh | #N/A
Electricity Use Upper | kWh | #N/A
Natural Gas Use Lower | kWh | #N/A
Natural Gas Use Upper | kWh | #N/A
District Use Lower | kWh | #N/A
District Use Upper | kWh | #N/A
Total Energy Savings Lower (%) | kWh/ft2 | #N/A
Total Energy Savings Lower | kWh | #N/A
Total Energy Use Lower (kWh) | kWh | #N/A
Total Energy Savings Upper (%) | kWh/ft2 | #N/A
Total Energy Savings Upper | kWh | #N/A
Total Energy Use Upper (kWh) | kWh | #N/A
Proposed Electricity Cost Savings Lower | $ | #N/A
Proposed Natural Gas Cost Savings Lower | $ | #N/A
Proposed District Cost Savings Lower | $ | #N/A
Proposed Total Energy Costs Savings Lower | $ | #N/A
Proposed Total Utility Cost Lower ($) | $ | #N/A
Proposed Total Utility Cost Lower (%) | % | #N/A
Proposed Electricity Cost Savings Upper | $ | #N/A
Proposed Natural Gas Cost Savings Upper | $ | #N/A
Proposed District Cost Savings Upper | $ | #N/A
Proposed Total Energy Costs Savings Upper | $ | #N/A
Proposed Total Utility Cost Upper ($) | $ | #N/A
Proposed Utility Cost Upper (%) | % | #N/A
Proposed NG Emissions Lower (kg CO2e) | kg CO2e | #N/A
Proposed Electricity Emissions Lower (kg CO2e) | kg CO2e | #N/A
Proposed District Emissions Lower (kg CO2e) | kg CO2e | #N/A
Proposed Total Emissions Lower (kg CO2e) | kg CO2e | #N/A
Proposed NG Emissions Upper (kg CO2e) | kg CO2e | #N/A
Proposed Electricity Emissions Upper (kg CO2e) | kg CO2e | #N/A
Proposed District Emissions Upper (kg CO2e) | kg CO2e | #N/A
Proposed Total Emissions Upper (kg CO2e) | kg CO2e | #N/A
Emissions NG Savings Lower (kg CO2e) | kg CO2e | #N/A
Emissions Electricity Savings Lower (kg CO2e) | kg CO2e | #N/A
Emissions District Savings Lower (kg CO2e) | kg CO2e | #N/A
Emissions Total Savings Lower (kg CO2e) | kg CO2e | #N/A
Emissions Total Savings Lower (%) | % | #N/A
Emission Comparison Metric - Tree | TBD | #N/A | https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator#results
Emission Comparison Metric - Car | km | #N/A
Emissions NG Savings Upper (kg CO2e) | kg CO2e | #N/A
Emissions Electricity Savings Upper (kg CO2e) | kg CO2e | #N/A
Emissions District Savings Upper (kg CO2e) | kg CO2e | #N/A
Emissions Total Savings Upper (kg CO2e) | kg CO2e | #N/A
Emissions Total Savings Upper (%) | % | #N/A
Emission Comparison Metric - Tree | TBD | #N/A | https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator#results
Emission Comparison Metric - Car | km | #N/A
List of Chart Options |  | Emissions (kgCO₂e)
Energy (ekWh)
Rounding Table
|  | Absolute | % |  | 0 | 0
Energy savings |  | #N/A | #N/A |  | 10 | 0
Utility Costs |  | #N/A | #N/A |  | 100 | -1
GHG Emissions: |  | #N/A | #N/A |  | 199 | -1
[5 empty] | 1000 | -2
[5 empty] | 10000 | -3
Chart Values |  |  |  |  | 1000000 | -4
Selectric Metric |  | Energy (ekWh) | Pull from front end
| Existing Building | Building with NZC Retrofit Measure
Electricity Energy (ekWh) | 0 | #N/A
Natural Gas Energy (ekWh) | 0 | #N/A
District Heating Energy (ekWh) | 0 | #N/A
| 1 | 1
Total Value | 0 | #N/A
Note on C7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Revise to ft2

## Existing Building EUI (hidden)
Existing Building EUI Database
Source: City of Toronto Net Zero Existing Buildings Strategy - Impact Modeling & Assessment Technical Appendix May 2021
Building Type | Cluster | Fuel Energy (kWh/m²) | Electric Energy (kWh/m²) | TEUI (kWh/ m²) | Building Vintage (Selected in Phase 2)
Unit: | 0 | 0 | 0 | 0
Mid Rise Office | 14 | 270 | 219 | 489 | 20-storey structure, 1975 construction
Educational Facility | 4 | 201 | 284 | 485 | 2-storey structure, 1965 construction
Big Box Store | 13 | 159 | 231 | 389 | 1-storey structure, 1980 construction, >100,000 ft²
Low Rise Office | 10 | 149 | 204 | 353 | 2-storey structure, 1970 construction
Strip Mall | 7 | 127 | 248 | 375 | 1-storey structure, 1950 construction, <100,000 ft²
Single Family Home Attached | 30 | 147 | 43 | 190 | 3-storey structure, 1990 construction
Single Family Home Detached | 23 | 203 | 38 | 241 | 2-storey structure, 1910 construction
Low Rise Rental Apartment | 8 | 234 | 107 | 341 | 4-storey structure, 1960 construction
Condominium | 12 | 215 | 93 | 308 | 13-storey structure, 2000 construction
Mixed Use | 22 | 268 | 322 | 590 | 20-storey structure, 1980 construction

## Retrofit Data (hidden)
Retrofit Data
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108
Code | Code | Retrofit Measure [D] = existing district energy | Building Type | Total EUI - Lower | Total - EUI - Upper | GHGI Lower | GHGI Upper | GHGI Average | Natural Gas (kwh/m2) | Electricity (kwh/m2) | DES Energy (Kwh/m2) | % NG - LOW | % NG - HIGH | %Elec - LOW | %Elec - HIGH | % DES - LOW | % DES - HIGH | % Elec Added - LOW | % Elec Added - HIGH | Natural Gas - EUI LOW | Natural Gas - EUI HIGH | Electricity - EUI LOW | Electricity - EUI HIGH | DES - EUI LOW | DES - EUI HIGH | Total EUI Reduction - LOW | Total EUI Reduction - HIGH
NG | Appliance UpgradesBig Box Store | Appliance Upgrades | Big Box Store | 1% | 10% | 1% | 10% | 5.5% | 159 | 231 | 0 | 0% | 0% | 2% | 16.5% | 0% | 0% | 0% | 0% | 159 | 159 | 226.38 | 192.885 | 0 | 0 | 1.185% | 9.773%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingBig Box Store | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Big Box Store | 11% | 20% | 21% | 30% | 25.5% | 159 | 231 | 0 | 15% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 135.15 | 127.2 | 212.52 | 196.35 | 0 | 0 | 10.85% | 17.04%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationBig Box Store | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Big Box Store | 21% | 30% | 21% | 30% | 25.5% | 159 | 231 | 0 | 25% | 35% | 18% | 20% | 0% | 0% | 0% | 0% | 119.25 | 103.35 | 189.42 | 184.8 | 0 | 0 | 20.85% | 26.12%
NG | Domestic Hot Water - Electric Water HeaterBig Box Store | Domestic Hot Water - Electric Water Heater | Big Box Store | 1% | 5% | 1% | 10% | 5.5% | 159 | 231 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -0.5% | -3.75% | 155.82 | 135.15 | 231.795 | 236.9625 | 0 | 0 | 0.6115% | 4.587%
NG | Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric HeatBig Box Store | Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric Heat | Big Box Store | 11% | 20% | 30% | 55% | 42.5% | 159 | 231 | 0 | 85% | 90% | 5% | 8% | 0% | 0% | -42.5% | -45% | 23.85 | 15.9 | 287.025 | 284.07 | 0 | 0 | 20.29% | 23.08%
NG | Lighting and Lighting ControlsBig Box Store | Lighting and Lighting Controls | Big Box Store | 1% | 10% | 1% | 10% | 5.5% | 159 | 231 | 0 | 0% | 0% | 1% | 17% | 0% | 0% | 0% | 0% | 159 | 159 | 228.69 | 191.73 | 0 | 0 | 0.5923% | 10.07%
NG | Renewables - Solar PVBig Box Store | Renewables - Solar PV | Big Box Store | 1% | 10% | 1% | 5% | 3% | 159 | 231 | 0 | 0% | 0% | 2% | 17% | 0% | 0% | 0% | 0% | 159 | 159 | 226.38 | 191.73 | 0 | 0 | 1.185% | 10.07%
NG | Ventilation Systems - Energy Recovery Ventilator (ERV)Big Box Store | Ventilation Systems - Energy Recovery Ventilator (ERV) | Big Box Store | 1% | 10% | 1% | 10% | 5.5% | 159 | 231 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 157.41 | 151.05 | 228.69 | 219.45 | 0 | 0 | 1% | 5%
NG | Appliance Upgrades & Lighting and Lighting ControlsCondominium | Appliance Upgrades & Lighting and Lighting Controls | Condominium | 11% | 20% | 1% | 10% | 5.5% | 215 | 93 | 0 | 0% | 0% | 35% | 50% | 0% | 0% | 0% | 0% | 215 | 215 | 60.45 | 46.5 | 0 | 0 | 10.57% | 15.1%
NG | Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) Condominium | Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) | Condominium | 11% | 20% | 11% | 20% | 15.5% | 215 | 93 | 0 | 12% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 189.2 | 172 | 85.56 | 79.05 | 0 | 0 | 10.79% | 18.49%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingCondominium | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Condominium | 1% | 10% | 1% | 10% | 5.5% | 215 | 93 | 0 | 1% | 11% | 1% | 8% | 0% | 0% | 0% | 0% | 212.85 | 191.35 | 92.07 | 85.56 | 0 | 0 | 1% | 10.09%
NG | Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersCondominium | Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Condominium | 1% | 10% | 1% | 10% | 5.5% | 215 | 93 | 0 | 1% | 20% | 0% | 0% | 0% | 0% | -0.25% | -5% | 212.85 | 172 | 93.5375 | 103.75 | 0 | 0 | 0.5235% | 10.47%
NG | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersCondominium | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Condominium | 1% | 10% | 5% | 20% | 12.5% | 215 | 93 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -1% | -7.5% | 210.7 | 182.75 | 95.15 | 109.125 | 0 | 0 | 0.6981% | 5.235%
NG | Heating & Cooling Systems - Air Source Heat PumpsCondominium | Heating & Cooling Systems - Air Source Heat Pumps | Condominium | 11% | 20% | 21% | 30% | 25.5% | 215 | 93 | 0 | 50% | 60% | 3% | 5% | 0% | 0% | -25% | -30% | 107.5 | 86 | 143.96 | 152.85 | 0 | 0 | 18.36% | 22.45%
NG | Heating & Cooling Systems - Low Carbon District Heating SystemCondominium | Heating & Cooling Systems - Low Carbon District Heating System | Condominium | 11% | 20% | 21% | 30% | 25.5% | 215 | 93 | 0 | 50% | 60% | 3% | 5% | -35% | -42% | 0% | 0% | 107.5 | 86 | 90.21 | 88.35 | 75.25 | 90.3 | 11.38% | 14.07%
NG | Heating & Cooling Systems - Ground Source Heat PumpsCondominium | Heating & Cooling Systems - Ground Source Heat Pumps | Condominium | 11% | 20% | 21% | 30% | 25.5% | 215 | 93 | 0 | 50% | 60% | 3% | 5% | 0% | 0% | -16.67% | -20% | 107.5 | 86 | 126.0433 | 131.35 | 0 | 0 | 24.17% | 29.43%
NG | Renewables - Solar PVCondominium | Renewables - Solar PV | Condominium | 1% | 10% | 1% | 5% | 3% | 215 | 93 | 0 | 0% | 0% | 2% | 22% | 0% | 0% | 0% | 0% | 215 | 215 | 91.14 | 72.54 | 0 | 0 | 0.6039% | 6.643%
NG | Renewables - Solar ThermalCondominium | Renewables - Solar Thermal | Condominium | 1% | 10% | 1% | 5% | 3% | 215 | 93 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 210.7 | 193.5 | 93 | 93 | 0 | 0 | 1.396% | 6.981%
NG | Ventilation System - Energy Recovery Ventilation (ERV) and Electric HeatCondominium | Ventilation System - Energy Recovery Ventilation (ERV) and Electric Heat | Condominium | 21% | 30% | 31% | 40% | 35.5% | 215 | 93 | 0 | 30% | 35% | 5% | 15% | 0% | 0% | 0% | 0% | 150.5 | 139.75 | 88.35 | 79.05 | 0 | 0 | 22.45% | 28.96%
NG | Appliance UpgradesEducational Facility | Appliance Upgrades | Educational Facility | 1% | 2% | 0% | 1% | 0.5% | 201 | 284 | 0 | 0% | 0% | 2% | 4% | 0% | 0% | 0% | 0% | 201 | 201 | 278.32 | 272.64 | 0 | 0 | 1.171% | 2.342%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingEducational Facility | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Educational Facility | 1% | 10% | 1% | 10% | 5.5% | 201 | 284 | 0 | 1% | 12% | 1% | 8% | 0% | 0% | 0% | 0% | 198.99 | 176.88 | 281.16 | 261.28 | 0 | 0 | 1% | 9.658%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationEducational Facility | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Educational Facility | 11% | 20% | 11% | 20% | 15.5% | 201 | 284 | 0 | 15% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 170.85 | 160.8 | 261.28 | 241.4 | 0 | 0 | 10.9% | 17.07%
NG | Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersEducational Facility | Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Educational Facility | 1% | 5% | 1% | 15% | 8% | 201 | 284 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -0.5% | -3.75% | 196.98 | 170.85 | 285.005 | 291.5375 | 0 | 0 | 0.6216% | 4.662%
NG | Gas Appliances - Electric and Induction RangesEducational Facility | Gas Appliances - Electric and Induction Ranges | Educational Facility | 1% | 10% | 10% | 15% | 12.5% | 201 | 284 | 0 | 5% | 15% | 0% | 0% | 0% | 0% | -2.5% | -7.5% | 190.95 | 170.85 | 289.025 | 299.075 | 0 | 0 | 1.036% | 3.108%
NG | Heating & Cooling Systems - Air Source Heat PumpsEducational Facility | Heating & Cooling Systems - Air Source Heat Pumps | Educational Facility | 21% | 30% | 30% | 75% | 52.5% | 201 | 284 | 0 | 80% | 98% | 5% | 8% | 0% | 0% | -40% | -49% | 40.2 | 4.02 | 350.2 | 359.77 | 0 | 0 | 19.51% | 24.99%
NG | Heating & Cooling Systems - Low Carbon District Energy SystemEducational Facility | Heating & Cooling Systems - Low Carbon District Energy System | Educational Facility | 21% | 30% | 30% | 75% | 52.5% | 201 | 284 | 0 | 80% | 98% | 5% | 8% | -56% | -68.6% | 0% | 0% | 40.2 | 4.02 | 269.8 | 261.28 | 112.56 | 137.886 | 12.87% | 16.87%
NG | Heating & Cooling Systems - Ground Source Heat PumpsEducational Facility | Heating & Cooling Systems - Ground Source Heat Pumps | Educational Facility | 21% | 30% | 30% | 75% | 52.5% | 201 | 284 | 0 | 80% | 98% | 5% | 8% | 0% | 0% | -26.67% | -32.67% | 40.2 | 4.02 | 323.4 | 326.94 | 0 | 0 | 25.03% | 31.76%
NG | Lighting and Lighting ControlsEducational Facility | Lighting and Lighting Controls | Educational Facility | 1% | 10% | 1% | 5% | 3% | 201 | 284 | 0 | 0% | 0% | 1% | 17% | 0% | 0% | 0% | 0% | 201 | 201 | 281.16 | 235.72 | 0 | 0 | 0.5856% | 9.955%
NG | Renewables - Solar PVEducational Facility | Renewables - Solar PV | Educational Facility | 1% | 10% | 1% | 3% | 2% | 201 | 284 | 0 | 0% | 0% | 2% | 17% | 0% | 0% | 0% | 0% | 201 | 201 | 278.32 | 235.72 | 0 | 0 | 1.171% | 9.955%
NG | Renewables - Solar ThermalEducational Facility | Renewables - Solar Thermal | Educational Facility | 1% | 10% | 1% | 3% | 2% | 201 | 284 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 196.98 | 180.9 | 284 | 284 | 0 | 0 | 0.8289% | 4.144%
NG | Ventilation Systems - Energy Recovery Ventilators (ERV), Electric HumidifiersEducational Facility | Ventilation Systems - Energy Recovery Ventilators (ERV), Electric Humidifiers | Educational Facility | 1% | 10% | 1% | 10% | 5.5% | 201 | 284 | 0 | 1% | 10% | 1% | 5% | 0% | 0% | 0% | 0% | 198.99 | 180.9 | 281.16 | 269.8 | 0 | 0 | 1% | 7.072%
NG | Appliance UpgradesLow Rise Office | Appliance Upgrades | Low Rise Office | 1% | 2% | 0% | 1% | 0.5% | 149 | 204 | 0 | 0% | 0% | 2% | 4% | 0% | 0% | 0% | 0% | 149 | 149 | 199.92 | 195.84 | 0 | 0 | 1.156% | 2.312%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingLow Rise Office | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Low Rise Office | 1% | 10% | 1% | 10% | 5.5% | 149 | 204 | 0 | 1% | 12% | 1% | 8% | 0% | 0% | 0% | 0% | 147.51 | 131.12 | 201.96 | 187.68 | 0 | 0 | 1% | 9.688%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationLow Rise Office | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Low Rise Office | 11% | 20% | 1% | 10% | 5.5% | 149 | 204 | 0 | 15% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 126.65 | 119.2 | 187.68 | 173.4 | 0 | 0 | 10.95% | 17.11%
NG | Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersLow Rise Office | Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Low Rise Office | 1% | 5% | 1% | 10% | 5.5% | 149 | 204 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -0.5% | -3.75% | 146.02 | 126.65 | 204.745 | 209.5875 | 0 | 0 | 0.6331% | 4.749%
NG | Heating, Cooling, Ventilation Systems - Rooftop Air Source Heat Pump with Electric BaseboardLow Rise Office | Heating, Cooling, Ventilation Systems - Rooftop Air Source Heat Pump with Electric Baseboard | Low Rise Office | 21% | 30% | 30% | 75% | 52.5% | 149 | 204 | 0 | 85% | 97% | 8% | 10% | 0% | 0% | -42.5% | -48.5% | 22.35 | 4.47 | 251.005 | 255.865 | 0 | 0 | 22.56% | 26.25%
NG | Lighting and Lighting ControlsLow Rise Office | Lighting and Lighting Controls | Low Rise Office | 1% | 10% | 1% | 10% | 5.5% | 149 | 204 | 0 | 0% | 0% | 1% | 18% | 0% | 0% | 0% | 0% | 149 | 149 | 201.96 | 167.28 | 0 | 0 | 0.5779% | 10.4%
NG | Renewables - Solar PVLow Rise Office | Renewables - Solar PV | Low Rise Office | 1% | 10% | 1% | 5% | 3% | 149 | 204 | 0 | 0% | 0% | 2% | 17% | 0% | 0% | 0% | 0% | 149 | 149 | 199.92 | 169.32 | 0 | 0 | 1.156% | 9.824%
NG | Renewables - Solar ThermalLow Rise Office | Renewables - Solar Thermal | Low Rise Office | 1% | 10% | 1% | 5% | 3% | 149 | 204 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 146.02 | 134.1 | 204 | 204 | 0 | 0 | 0.8442% | 4.221%
NG | Appliance Upgrades & Lighting and Lighting ControlsLow Rise Rental Apartment | Appliance Upgrades & Lighting and Lighting Controls | Low Rise Rental Apartment | 11% | 20% | 1% | 10% | 5.5% | 234 | 107 | 0 | 0% | 0% | 35% | 50% | 0% | 0% | 0% | 0% | 234 | 234 | 69.55 | 53.5 | 0 | 0 | 10.98% | 15.69%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingLow Rise Rental Apartment | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Low Rise Rental Apartment | 1% | 10% | 1% | 10% | 5.5% | 234 | 107 | 0 | 1% | 11% | 1% | 8% | 0% | 0% | 0% | 0% | 231.66 | 208.26 | 105.93 | 98.44 | 0 | 0 | 1% | 10.06%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationLow Rise Rental Apartment | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Low Rise Rental Apartment | 11% | 20% | 11% | 20% | 15.5% | 234 | 107 | 0 | 12% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 205.92 | 187.2 | 98.44 | 90.95 | 0 | 0 | 10.74% | 18.43%
NG | Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersLow Rise Rental Apartment | Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Low Rise Rental Apartment | 11% | 20% | 21% | 30% | 25.5% | 234 | 107 | 0 | 22% | 30% | 0% | 0% | 0% | 0% | -5.5% | -7.5% | 182.52 | 163.8 | 119.87 | 124.55 | 0 | 0 | 11.32% | 15.44%
NG | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersLow Rise Rental Apartment | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Low Rise Rental Apartment | 1% | 10% | 5% | 20% | 12.5% | 234 | 107 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -1% | -7.5% | 229.32 | 198.9 | 109.34 | 124.55 | 0 | 0 | 0.6862% | 5.147%
NG | Heating, Cooling, Ventilation Systems - Air Source Heat Pumps + Energy Recovery VentilatorsLow Rise Rental Apartment | Heating, Cooling, Ventilation Systems - Air Source Heat Pumps + Energy Recovery Ventilators | Low Rise Rental Apartment | 21% | 30% | 31% | 40% | 35.5% | 234 | 107 | 0 | 70% | 80% | 8% | 10% | 0% | 0% | -35% | -40% | 70.2 | 46.8 | 180.34 | 189.9 | 0 | 0 | 26.53% | 30.59%
NG | Heating, Cooling, Ventilation Systems - Low Carbon District Energy System + Energy Recovery VentilatorsLow Rise Rental Apartment | Heating, Cooling, Ventilation Systems - Low Carbon District Energy System + Energy Recovery Ventilators | Low Rise Rental Apartment | 21% | 30% | 31% | 40% | 35.5% | 234 | 107 | 0 | 70% | 80% | 8% | 10% | -49% | -56% | 0% | 0% | 70.2 | 46.8 | 98.44 | 96.3 | 114.66 | 131.04 | 16.92% | 19.61%
NG | Heating, Cooling, Ventilation Systems - Ground Source Heat Pumps + Energy Recovery VentilatorsLow Rise Rental Apartment | Heating, Cooling, Ventilation Systems - Ground Source Heat Pumps + Energy Recovery Ventilators | Low Rise Rental Apartment | 21% | 30% | 31% | 40% | 35.5% | 234 | 107 | 0 | 70% | 80% | 8% | 10% | 0% | 0% | -23.33% | -26.67% | 70.2 | 46.8 | 153.04 | 158.7 | 0 | 0 | 34.53% | 39.74%
NG | Renewables - Solar PVLow Rise Rental Apartment | Renewables - Solar PV | Low Rise Rental Apartment | 1% | 10% | 1% | 5% | 3% | 234 | 107 | 0 | 0% | 0% | 2% | 30% | 0% | 0% | 0% | 0% | 234 | 234 | 104.86 | 74.9 | 0 | 0 | 0.6276% | 9.413%
NG | Renewables - Solar ThermalLow Rise Rental Apartment | Renewables - Solar Thermal | Low Rise Rental Apartment | 1% | 10% | 1% | 5% | 3% | 234 | 107 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 229.32 | 210.6 | 107 | 107 | 0 | 0 | 1.372% | 6.862%
NG | Appliance UpgradesMid Rise Office | Appliance Upgrades | Mid Rise Office | 1% | 2% | 0% | 1% | 0.5% | 270 | 219 | 0 | 0% | 0% | 2% | 4% | 0% | 0% | 0% | 0% | 270 | 270 | 214.62 | 210.24 | 0 | 0 | 0.8957% | 1.791%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingMid Rise Office | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Mid Rise Office | 1% | 10% | 1% | 10% | 5.5% | 270 | 219 | 0 | 1% | 11% | 1% | 8% | 0% | 0% | 0% | 0% | 267.3 | 240.3 | 216.81 | 201.48 | 0 | 0 | 1% | 9.656%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationMid Rise Office | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Mid Rise Office | 1% | 10% | 1% | 10% | 5.5% | 270 | 219 | 0 | 14% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 232.2 | 216 | 201.48 | 186.15 | 0 | 0 | 11.31% | 17.76%
NG | Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersMid Rise Office | Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Mid Rise Office | 1% | 4% | 1% | 10% | 5.5% | 270 | 219 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | -0.5% | -2.5% | 264.6 | 243 | 220.35 | 225.75 | 0 | 0 | 0.8282% | 4.141%
NG | Heating & Cooling Systems - Air Source Heat PumpsMid Rise Office | Heating & Cooling Systems - Air Source Heat Pumps | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 270 | 219 | 0 | 85% | 95% | 5% | 10% | 0% | 0% | -42.5% | -47.5% | 40.5 | 13.5 | 322.8 | 325.35 | 0 | 0 | 25.71% | 30.71%
NG | Heating & Cooling Systems - Low Carbon District Energy SystemMid Rise Office | Heating & Cooling Systems - Low Carbon District Energy System | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 270 | 219 | 0 | 85% | 95% | 5% | 10% | -59.5% | -66.5% | 0% | 0% | 40.5 | 13.5 | 208.05 | 197.1 | 160.65 | 179.55 | 16.32% | 20.21%
NG | Heating & Cooling Systems - Ground Source Heat PumpsMid Rise Office | Heating & Cooling Systems - Ground Source Heat Pumps | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 270 | 219 | 0 | 85% | 95% | 5% | 10% | 0% | 0% | -28.33% | -31.67% | 40.5 | 13.5 | 284.55 | 282.6 | 0 | 0 | 33.53% | 39.45%
NG | Lighting and Lighting ControlsMid Rise Office | Lighting and Lighting Controls | Mid Rise Office | 1% | 10% | 1% | 10% | 5.5% | 270 | 219 | 0 | 0% | 0% | 3% | 22% | 0% | 0% | 0% | 0% | 270 | 270 | 212.43 | 170.82 | 0 | 0 | 1.344% | 9.853%
NG | Renewables - Solar PVMid Rise Office | Renewables - Solar PV | Mid Rise Office | 1% | 10% | 1% | 5% | 3% | 270 | 219 | 0 | 0% | 0% | 2% | 22% | 0% | 0% | 0% | 0% | 270 | 270 | 214.62 | 170.82 | 0 | 0 | 0.8957% | 9.853%
NG | Renewables - Solar ThermalMid Rise Office | Renewables - Solar Thermal | Mid Rise Office | 1% | 10% | 1% | 3% | 2% | 270 | 219 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 264.6 | 243 | 219 | 219 | 0 | 0 | 1.104% | 5.521%
NG | Ventilation Systems - Energy Recovery Ventilator (ERV)Mid Rise Office | Ventilation Systems - Energy Recovery Ventilator (ERV) | Mid Rise Office | 1% | 5% | 1% | 10% | 5.5% | 270 | 219 | 0 | 2% | 10% | 1% | 5% | 0% | 0% | 0% | 0% | 264.6 | 243 | 216.81 | 208.05 | 0 | 0 | 1.552% | 7.761%
NG | Appliance UpgradesMixed Use | Appliance Upgrades | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 268 | 322 | 0 | 0% | 0% | 2% | 18% | 0% | 0% | 0% | 0% | 268 | 268 | 315.56 | 264.04 | 0 | 0 | 1.092% | 9.824%
NG | Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) Mixed Use | Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) | Mixed Use | 11% | 20% | 11% | 20% | 15.5% | 268 | 322 | 0 | 14% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 230.48 | 214.4 | 296.24 | 273.7 | 0 | 0 | 10.73% | 17.27%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingMixed Use | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 268 | 322 | 0 | 1% | 12% | 1% | 8% | 0% | 0% | 0% | 0% | 265.32 | 235.84 | 318.78 | 296.24 | 0 | 0 | 1% | 9.817%
NG | Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersMixed Use | Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Mixed Use | 11% | 20% | 21% | 30% | 25.5% | 268 | 322 | 0 | 20% | 40% | 0% | 0% | 0% | 0% | -5% | -10% | 214.4 | 160.8 | 335.4 | 348.8 | 0 | 0 | 6.814% | 13.63%
NG | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersMixed Use | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Mixed Use | 1% | 10% | 5% | 25% | 15% | 268 | 322 | 0 | 1% | 15% | 0% | 0% | 0% | 0% | -0.5% | -7.5% | 265.32 | 227.8 | 323.34 | 342.1 | 0 | 0 | 0.2271% | 3.407%
NG | Heating & Cooling Systems - Air Source Heat PumpsMixed Use | Heating & Cooling Systems - Air Source Heat Pumps | Mixed Use | 21% | 30% | 20% | 40% | 30% | 268 | 322 | 0 | 70% | 80% | 8% | 10% | 0% | 0% | -35% | -40% | 80.4 | 53.6 | 390.04 | 397 | 0 | 0 | 20.26% | 23.63%
NG | Heating & Cooling Systems - Low Carbon District Energy SystemMixed Use | Heating & Cooling Systems - Low Carbon District Energy System | Mixed Use | 21% | 30% | 20% | 40% | 30% | 268 | 322 | 0 | 70% | 80% | 8% | 10% | -49% | -56% | 0% | 0% | 80.4 | 53.6 | 296.24 | 289.8 | 131.32 | 150.08 | 13.91% | 16.36%
NG | Heating & Cooling Systems - Ground Source Heat PumpsMixed Use | Heating & Cooling Systems - Ground Source Heat Pumps | Mixed Use | 21% | 30% | 20% | 40% | 30% | 268 | 322 | 0 | 70% | 80% | 8% | 10% | 0% | 0% | -23.33% | -26.67% | 80.4 | 53.6 | 358.7733 | 361.2667 | 0 | 0 | 25.56% | 29.68%
NG | Lighting and Lighting ControlsMixed Use | Lighting and Lighting Controls | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 268 | 322 | 0 | 0% | 0% | 1% | 18% | 0% | 0% | 0% | 0% | 268 | 268 | 318.78 | 264.04 | 0 | 0 | 0.5458% | 9.824%
NG | Renewables - Solar PVMixed Use | Renewables - Solar PV | Mixed Use | 1% | 10% | 1% | 5% | 3% | 268 | 322 | 0 | 0% | 0% | 2% | 18% | 0% | 0% | 0% | 0% | 268 | 268 | 315.56 | 264.04 | 0 | 0 | 1.092% | 9.824%
NG | Renewables - Solar ThermalMixed Use | Renewables - Solar Thermal | Mixed Use | 1% | 10% | 1% | 5% | 3% | 268 | 322 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 262.64 | 241.2 | 322 | 322 | 0 | 0 | 0.9085% | 4.542%
NG | Ventilation System - Energy Recovery Ventilators (ERV)Mixed Use | Ventilation System - Energy Recovery Ventilators (ERV) | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 268 | 322 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 265.32 | 254.6 | 318.78 | 305.9 | 0 | 0 | 1% | 5%
NG | Appliance Upgrades & Lighting and Lighting ControlsSingle Family Home Attached | Appliance Upgrades & Lighting and Lighting Controls | Single Family Home Attached | 11% | 20% | 1% | 10% | 5.5% | 147 | 43 | 0 | 0% | 0% | 50% | 70% | 0% | 0% | 0% | 0% | 147 | 147 | 21.5 | 12.9 | 0 | 0 | 11.32% | 15.84%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingSingle Family Home Attached | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Single Family Home Attached | 1% | 10% | 1% | 10% | 5.5% | 147 | 43 | 0 | 1% | 11% | 1% | 8% | 0% | 0% | 0% | 0% | 145.53 | 130.83 | 42.57 | 39.56 | 0 | 0 | 1% | 10.32%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationSingle Family Home Attached | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Single Family Home Attached | 11% | 20% | 11% | 20% | 15.5% | 147 | 43 | 0 | 12% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 129.36 | 117.6 | 39.56 | 36.55 | 0 | 0 | 11.09% | 18.87%
NG | Domestic Hot Water - Electric Water HeaterSingle Family Home Attached | Domestic Hot Water - Electric Water Heater | Single Family Home Attached | 11% | 20% | 11% | 20% | 15.5% | 147 | 43 | 0 | 20% | 30% | 0% | 0% | 0% | 0% | -5% | -7.5% | 117.6 | 102.9 | 50.35 | 54.025 | 0 | 0 | 11.61% | 17.41%
NG | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersSingle Family Home Attached | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Single Family Home Attached | 1% | 10% | 5% | 20% | 12.5% | 147 | 43 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -1% | -7.5% | 144.06 | 124.95 | 44.47 | 54.025 | 0 | 0 | 0.7737% | 5.803%
NG | Heating & Cooling Systems - Air Source Heat PumpsSingle Family Home Attached | Heating & Cooling Systems - Air Source Heat Pumps | Single Family Home Attached | 1% | 45% | 1% | 45% | 23% | 147 | 43 | 0 | 60% | 80% | 1% | 5% | 0% | 0% | -25% | -33.33% | 58.8 | 29.4 | 79.32 | 89.85 | 0 | 0 | 27.31% | 37.24%
NG | Heating & Cooling Systems - Ground Source Heat PumpsSingle Family Home Attached | Heating & Cooling Systems - Ground Source Heat Pumps | Single Family Home Attached | 1% | 45% | 1% | 45% | 23% | 147 | 43 | 0 | 60% | 80% | 1% | 5% | 0% | 0% | -20% | -26.67% | 58.8 | 29.4 | 71.97 | 80.05 | 0 | 0 | 31.17% | 42.39%
NG | Renewables - Solar PVSingle Family Home Attached | Renewables - Solar PV | Single Family Home Attached | 1% | 10% | 1% | 5% | 3% | 147 | 43 | 0 | 0% | 0% | 3% | 40% | 0% | 0% | 0% | 0% | 147 | 147 | 41.71 | 25.8 | 0 | 0 | 0.6789% | 9.053%
NG | Renewables - Solar ThermalSingle Family Home Attached | Renewables - Solar Thermal | Single Family Home Attached | 5% | 15% | 10% | 20% | 15% | 147 | 43 | 0 | 7% | 20% | 0% | 0% | 0% | 0% | 0% | 0% | 136.71 | 117.6 | 43 | 43 | 0 | 0 | 5.416% | 15.47%
NG | Ventilation System - Central Energy Recovery Ventilator (ERV)Single Family Home Attached | Ventilation System - Central Energy Recovery Ventilator (ERV) | Single Family Home Attached | 1% | 5% | 1% | 5% | 3% | 147 | 43 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 145.53 | 139.65 | 42.57 | 40.85 | 0 | 0 | 1% | 5%
NG | Ventilation System - Local Energy Recovery Ventilator (ERV)Single Family Home Attached | Ventilation System - Local Energy Recovery Ventilator (ERV) | Single Family Home Attached | 1% | 5% | 1% | 5% | 3% | 147 | 43 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 145.53 | 139.65 | 42.57 | 40.85 | 0 | 0 | 1% | 5%
NG | Appliance Upgrades & Lighting and Lighting ControlsSingle Family Home Detached | Appliance Upgrades & Lighting and Lighting Controls | Single Family Home Detached | 11% | 20% | 1% | 10% | 5.5% | 203 | 38 | 0 | 0% | 0% | 70% | 80% | 0% | 0% | 0% | 0% | 203 | 203 | 11.4 | 7.6 | 0 | 0 | 11.04% | 12.61%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingSingle Family Home Detached | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Single Family Home Detached | 1% | 10% | 1% | 10% | 5.5% | 203 | 38 | 0 | 1% | 11% | 1% | 7% | 0% | 0% | 0% | 0% | 200.97 | 180.67 | 37.62 | 35.34 | 0 | 0 | 1% | 10.37%
NG | Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationSingle Family Home Detached | Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Single Family Home Detached | 11% | 20% | 11% | 20% | 15.5% | 203 | 38 | 0 | 12% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 178.64 | 162.4 | 34.96 | 32.3 | 0 | 0 | 11.37% | 19.21%
NG | Domestic Hot Water - Electric Water HeaterSingle Family Home Detached | Domestic Hot Water - Electric Water Heater | Single Family Home Detached | 21% | 30% | 21% | 30% | 25.5% | 203 | 38 | 0 | 20% | 30% | 0% | 0% | 0% | 0% | -5% | -7.5% | 162.4 | 142.1 | 48.15 | 53.225 | 0 | 0 | 12.63% | 18.95%
NG | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersSingle Family Home Detached | Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Single Family Home Detached | 1% | 10% | 5% | 20% | 12.5% | 203 | 38 | 0 | 2% | 15% | 0% | 0% | 0% | 0% | -1% | -7.5% | 198.94 | 172.55 | 40.03 | 53.225 | 0 | 0 | 0.8423% | 6.317%
NG | Heating & Cooling Systems - Air Source Heat PumpsSingle Family Home Detached | Heating & Cooling Systems - Air Source Heat Pumps | Single Family Home Detached | 1% | 55% | 1% | 55% | 28% | 203 | 38 | 0 | 60% | 80% | 1% | 5% | 0% | 0% | -25% | -33.33% | 81.2 | 40.6 | 88.37 | 103.7667 | 0 | 0 | 29.64% | 40.1%
NG | Heating & Cooling Systems - Ground Source Heat PumpsSingle Family Home Detached | Heating & Cooling Systems - Ground Source Heat Pumps | Single Family Home Detached | 1% | 55% | 1% | 55% | 28% | 203 | 38 | 0 | 60% | 80% | 1% | 5% | 0% | 0% | -20% | -26.67% | 81.2 | 40.6 | 78.22 | 90.2333 | 0 | 0 | 33.85% | 45.71%
NG | Renewables - Solar PVSingle Family Home Detached | Renewables - Solar PV | Single Family Home Detached | 1% | 10% | 1% | 5% | 3% | 203 | 38 | 0 | 0% | 0% | 4% | 50% | 0% | 0% | 0% | 0% | 203 | 203 | 36.48 | 19 | 0 | 0 | 0.6307% | 7.884%
NG | Renewables - Solar ThermalSingle Family Home Detached | Renewables - Solar Thermal | Single Family Home Detached | 5% | 15% | 10% | 20% | 15% | 203 | 38 | 0 | 6% | 18% | 0% | 0% | 0% | 0% | 0% | 0% | 190.82 | 166.46 | 38 | 38 | 0 | 0 | 5.054% | 15.16%
NG | Ventilation System - Central Energy Recovery Ventilator (ERV)Single Family Home Detached | Ventilation System - Central Energy Recovery Ventilator (ERV) | Single Family Home Detached | 1% | 5% | 1% | 5% | 3% | 203 | 38 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 200.97 | 192.85 | 37.62 | 36.1 | 0 | 0 | 1% | 5%
NG | Ventilation System - Local Energy Recovery Ventilator (ERV)Single Family Home Detached | Ventilation System - Local Energy Recovery Ventilator (ERV) | Single Family Home Detached | 1% | 5% | 1% | 5% | 3% | 203 | 38 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 200.97 | 192.85 | 37.62 | 36.1 | 0 | 0 | 1% | 5%
NG | Appliance UpgradesStrip Mall | Appliance Upgrades | Strip Mall | 1% | 2% | 0% | 1% | 0.5% | 127 | 248 | 0 | 0% | 0% | 2% | 3% | 0% | 0% | 0% | 0% | 127 | 127 | 243.04 | 240.56 | 0 | 0 | 1.323% | 1.984%
NG | Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) Strip Mall | Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) | Strip Mall | 21% | 30% | 21% | 30% | 25.5% | 127 | 248 | 0 | 25% | 35% | 18% | 20% | 0% | 0% | 0% | 0% | 95.25 | 82.55 | 203.36 | 198.4 | 0 | 0 | 20.37% | 25.08%
NG | Building Envelope - High Performance Glazing with Enhanced Air SealingStrip Mall | Building Envelope - High Performance Glazing with Enhanced Air Sealing | Strip Mall | 11% | 20% | 21% | 30% | 25.5% | 127 | 248 | 0 | 17% | 20% | 8% | 15% | 0% | 0% | 0% | 0% | 105.41 | 101.6 | 228.16 | 210.8 | 0 | 0 | 11.05% | 16.69%
NG | Domestic Hot Water - Electric Water HeaterStrip Mall | Domestic Hot Water - Electric Water Heater | Strip Mall | 1% | 5% | 1% | 10% | 5.5% | 127 | 248 | 0 | 2% | 20% | 0% | 0% | 0% | 0% | -0.5% | -5% | 124.46 | 101.6 | 248.635 | 254.35 | 0 | 0 | 0.508% | 5.08%
NG | Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric HeatStrip Mall | Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric Heat | Strip Mall | 12% | 25% | 20% | 55% | 37.5% | 127 | 248 | 0 | 80% | 97% | 8% | 10% | 0% | 0% | -40% | -48.5% | 25.4 | 3.81 | 278.96 | 284.795 | 0 | 0 | 18.84% | 23.04%
NG | Lighting and Lighting ControlsStrip Mall | Lighting and Lighting Controls | Strip Mall | 1% | 10% | 1% | 10% | 5.5% | 127 | 248 | 0 | 0% | 0% | 1% | 15% | 0% | 0% | 0% | 0% | 127 | 127 | 245.52 | 210.8 | 0 | 0 | 0.6613% | 9.92%
NG | Renewables - Solar PVStrip Mall | Renewables - Solar PV | Strip Mall | 1% | 10% | 1% | 3% | 2% | 127 | 248 | 0 | 0% | 0% | 2% | 15% | 0% | 0% | 0% | 0% | 127 | 127 | 243.04 | 210.8 | 0 | 0 | 1.323% | 9.92%
NG | Ventilation Systems - Energy Recovery Ventilator (ERV)Strip Mall | Ventilation Systems - Energy Recovery Ventilator (ERV) | Strip Mall | 1% | 5% | 1% | 10% | 5.5% | 127 | 248 | 0 | 1% | 5% | 1% | 5% | 0% | 0% | 0% | 0% | 125.73 | 120.65 | 245.52 | 235.6 | 0 | 0 | 1% | 5%
NG | Renewables - Solar ThermalEducational Facility | Renewables - Solar Thermal | Educational Facility | 1% | 10% | 1% | 3% | 2% | 201 | 284 | 0 | 2% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 196.98 | 180.9 | 284 | 284 | 0 | 0 | 0.8289% | 4.144%

## Retrofit Data - DES (hidden)
Retrofit Data
Source:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108
Code | Code | Retrofit Measure [D] = existing district energy | Building Type | Total EUI - Lower | Total - EUI - Upper | GHGI Lower | GHGI Upper | GHGI Average | Natural Gas (kwh/m2) | Electricity (kwh/m2) | DES Energy (Kwh/m2) | % NG - LOW | % NG - HIGH | %Elec - LOW | %Elec - HIGH | % DES - LOW | % DES - HIGH | % Elec Added - LOW | % Elec Added - HIGH | Natural Gas - EUI LOW | Natural Gas - EUI HIGH | Electricity - EUI LOW | Electricity - EUI HIGH | DES - EUI LOW | DES - EUI HIGH | Total EUI Reduction - LOW | Total EUI Reduction - HIGH
District | [D] Appliance UpgradesBig Box Store | [D] Appliance Upgrades | Big Box Store | 1% | 10% | 1% | 10% | 5.5% | 0 | 231 | 127.2 | 0% | 0% | 2% | 16.5% | 0% | 0% | 0% | 0% | 0 | 0 | 226.38 | 192.885 | 127.2 | 127.2 | 1.29% | 10.64%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingBig Box Store | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Big Box Store | 11% | 20% | 21% | 30% | 25.5% | 0 | 231 | 127.2 | 0% | 0% | 8% | 15% | 15% | 20% | 0% | 0% | 0 | 0 | 212.52 | 196.35 | 108.12 | 101.76 | 10.49% | 16.78%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationBig Box Store | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Big Box Store | 21% | 30% | 21% | 30% | 25.5% | 0 | 231 | 127.2 | 0% | 0% | 18% | 20% | 25% | 35% | 0% | 0% | 0 | 0 | 189.42 | 184.8 | 95.4 | 82.68 | 20.49% | 25.33%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemBig Box Store | [D] Domestic Hot Water - Low Carbon District Energy System | Big Box Store | 20% | 30% | 30% | 75% | 52.5% | 0 | 231 | 127.2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 231 | 231 | 127.2 | 127.2 | -0% | -0%
District | [D] Domestic Hot Water - Electric Water HeaterBig Box Store | [D] Domestic Hot Water - Electric Water Heater | Big Box Store | 20% | 30% | 30% | 75% | 52.5% | 0 | 231 | 127.2 | 0% | 0% | 0% | 0% | 2% | 15% | -2% | -15% | 0 | 0 | 231 | 231 | 124.656 | 108.12 | 0.7102% | 5.327%
District | [D] Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric HeatBig Box Store | [D] Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric Heat | Big Box Store | 20% | 30% | 30% | 75% | 52.5% | 0 | 231 | 127.2 | 0% | 0% | 0% | 0% | 85% | 90% | -42.5% | -45% | 0 | 0 | 231 | 231 | 19.08 | 12.72 | 30.18% | 31.96%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemBig Box Store | [D] Heating & Cooling Systems - Low Carbon District Energy System | Big Box Store | 20% | 30% | 30% | 75% | 52.5% | 0 | 231 | 127.2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 231 | 231 | 127.2 | 127.2 | -0% | -0%
District | [D] Lighting and Lighting ControlsBig Box Store | [D] Lighting and Lighting Controls | Big Box Store | 1% | 10% | 1% | 10% | 5.5% | 0 | 231 | 127.2 | 0% | 0% | 1% | 17% | 0% | 0% | 0% | 0% | 0 | 0 | 228.69 | 191.73 | 127.2 | 127.2 | 0.6449% | 10.96%
District | [D] Renewables - Solar PVBig Box Store | [D] Renewables - Solar PV | Big Box Store | 1% | 10% | 1% | 5% | 3% | 0 | 231 | 127.2 | 0% | 0% | 2% | 17% | 0% | 0% | 0% | 0% | 0 | 0 | 226.38 | 191.73 | 127.2 | 127.2 | 1.29% | 10.96%
District | [D] Ventilation Systems - Energy Recovery Ventilator (ERV)Big Box Store | [D] Ventilation Systems - Energy Recovery Ventilator (ERV) | Big Box Store | 1% | 10% | 1% | 10% | 5.5% | 0 | 231 | 127.2 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 228.69 | 219.45 | 125.928 | 120.84 | 1% | 5%
District | [D] Appliance Upgrades & Lighting and Lighting ControlsCondominium | [D] Appliance Upgrades & Lighting and Lighting Controls | Condominium | 11% | 20% | 1% | 10% | 5.5% | 0 | 93 | 172 | 0% | 0% | 35% | 50% | 0% | 0% | 0% | 0% | 0 | 0 | 60.45 | 46.5 | 172 | 172 | 12.28% | 17.55%
District | [D] Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) Condominium | [D] Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) | Condominium | 11% | 20% | 11% | 20% | 15.5% | 0 | 93 | 172 | 0% | 0% | 8% | 15% | 12% | 20% | 0% | 0% | 0 | 0 | 85.56 | 79.05 | 151.36 | 137.6 | 10.6% | 18.25%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingCondominium | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Condominium | 1% | 10% | 1% | 10% | 5.5% | 0 | 93 | 172 | 0% | 0% | 1% | 8% | 1% | 11% | 0% | 0% | 0 | 0 | 92.07 | 85.56 | 170.28 | 153.08 | 1% | 9.947%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemCondominium | [D] Domestic Hot Water - Low Carbon District Energy System | Condominium | 20% | 30% | 30% | 75% | 52.5% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 93 | 93 | 172 | 172 | -0% | -0%
District | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersCondominium | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Condominium | 20% | 30% | 30% | 75% | 52.5% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 1% | 20% | -0.25% | -5% | 0 | 0 | 93 | 93 | 170.28 | 137.6 | 0.6491% | 12.98%
District | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersCondominium | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Condominium | 1% | 10% | 5% | 20% | 12.5% | 0 | 93 | 172 | 100% | 100% | 0% | 0% | 0% | 0% | -1% | -7.5% | 0 | 0 | 93 | 93 | 172 | 172 | -0% | -0%
District | [D] Heating & Cooling Systems - Air Source Heat PumpsCondominium | [D] Heating & Cooling Systems - Air Source Heat Pumps | Condominium | 20% | 30% | 30% | 75% | 52.5% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 50% | 60% | -25% | -30% | 0 | 0 | 93 | 93 | 86 | 68.8 | 32.45% | 38.94%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemCondominium | [D] Heating & Cooling Systems - Low Carbon District Energy System | Condominium | 20% | 30% | 30% | 75% | 52.5% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 93 | 93 | 172 | 172 | -0% | -0%
District | [D] Heating & Cooling Systems - Ground Source Heat PumpsCondominium | [D] Heating & Cooling Systems - Ground Source Heat Pumps | Condominium | 20% | 30% | 30% | 75% | 52.5% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 50% | 60% | -16.67% | -20% | 0 | 0 | 93 | 93 | 86 | 68.8 | 32.45% | 38.94%
District | [D] Renewables - Solar PVCondominium | [D] Renewables - Solar PV | Condominium | 1% | 10% | 1% | 5% | 3% | 0 | 93 | 172 | 0% | 0% | 2% | 22% | 0% | 0% | 0% | 0% | 0 | 0 | 91.14 | 72.54 | 172 | 172 | 0.7019% | 7.721%
District | [D] Renewables - Solar ThermalCondominium | [D] Renewables - Solar Thermal | Condominium | 1% | 10% | 1% | 5% | 3% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 2% | 10% | 0% | 0% | 0 | 0 | 93 | 93 | 168.56 | 154.8 | 1.298% | 6.491%
District | [D] Renewables - Solar ThermalCondominium | [D] Renewables - Solar Thermal | Condominium | 1% | 10% | 1% | 5% | 3% | 0 | 93 | 172 | 0% | 0% | 0% | 0% | 2% | 10% | 0% | 0% | 0 | 0 | 93 | 93 | 168.56 | 154.8 | 1.298% | 6.491%
District | [D] Ventilation System - Energy Recovery Ventilation (ERV) and Electric HeatCondominium | [D] Ventilation System - Energy Recovery Ventilation (ERV) and Electric Heat | Condominium | 21% | 30% | 31% | 40% | 35.5% | 0 | 93 | 172 | 0% | 0% | 5% | 15% | 30% | 35% | 0% | 0% | 0 | 0 | 88.35 | 79.05 | 120.4 | 111.8 | 21.23% | 27.98%
District | [D] Ventilation System - Energy Recovery Ventilation (ERV) and Electric HeatCondominium | [D] Ventilation System - Energy Recovery Ventilation (ERV) and Electric Heat | Condominium | 21% | 30% | 31% | 40% | 35.5% | 0 | 93 | 172 | 0% | 0% | 5% | 15% | 30% | 35% | 0% | 0% | 0 | 0 | 88.35 | 79.05 | 120.4 | 111.8 | 21.23% | 27.98%
District | [D] Appliance UpgradesEducational Facility | [D] Appliance Upgrades | Educational Facility | 1% | 2% | 0% | 1% | 0.5% | 0 | 284 | 160.8 | 0% | 0% | 2% | 4% | 0% | 0% | 0% | 0% | 0 | 0 | 278.32 | 272.64 | 160.8 | 160.8 | 1.277% | 2.554%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingEducational Facility | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Educational Facility | 1% | 10% | 1% | 10% | 5.5% | 0 | 284 | 160.8 | 0% | 0% | 1% | 8% | 1% | 12% | 0% | 0% | 0 | 0 | 281.16 | 261.28 | 159.192 | 141.504 | 1% | 9.446%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationEducational Facility | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Educational Facility | 1% | 10% | 1% | 10% | 5.5% | 0 | 284 | 160.8 | 0% | 0% | 8% | 15% | 15% | 20% | 0% | 0% | 0 | 0 | 261.28 | 241.4 | 136.68 | 128.64 | 10.53% | 16.81%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemEducational Facility | [D] Domestic Hot Water - Low Carbon District Energy System | Educational Facility | 20% | 30% | 30% | 75% | 52.5% | 0 | 284 | 160.8 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 284 | 284 | 160.8 | 160.8 | -0% | -0%
District | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersEducational Facility | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Educational Facility | 20% | 30% | 30% | 75% | 52.5% | 0 | 284 | 160.8 | 0% | 0% | 0% | 0% | 2% | 15% | -0.5% | -3.75% | 0 | 0 | 284 | 284 | 157.584 | 136.68 | 0.723% | 5.423%
District | [D] Gas Appliances - Electric and Induction RangesEducational Facility | [D] Gas Appliances - Electric and Induction Ranges | Educational Facility | 1% | 10% | 5% | 20% | 12.5% | 0 | 284 | 160.8 | 100% | 100% | 0% | 0% | 0% | 0% | -1% | -7.5% | 0 | 0 | 284 | 284 | 160.8 | 160.8 | -0% | -0%
District | [D] Heating & Cooling Systems - Air Source Heat PumpsEducational Facility | [D] Heating & Cooling Systems - Air Source Heat Pumps | Educational Facility | 20% | 30% | 30% | 75% | 52.5% | 0 | 284 | 160.8 | 0% | 0% | 0% | 0% | 80% | 98% | -40% | -49% | 0 | 0 | 284 | 284 | 32.16 | 3.216 | 28.92% | 35.43%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemEducational Facility | [D] Heating & Cooling Systems - Low Carbon District Energy System | Educational Facility | 20% | 30% | 30% | 75% | 52.5% | 0 | 284 | 160.8 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 284 | 284 | 160.8 | 160.8 | -0% | -0%
District | [D] Heating & Cooling Systems - Ground Source Heat PumpsEducational Facility | [D] Heating & Cooling Systems - Ground Source Heat Pumps | Educational Facility | 20% | 30% | 30% | 75% | 52.5% | 0 | 284 | 160.8 | 0% | 0% | 0% | 0% | 80% | 98% | -26.67% | -32.67% | 0 | 0 | 284 | 284 | 32.16 | 3.216 | 28.92% | 35.43%
District | [D] Lighting and Lighting ControlsEducational Facility | [D] Lighting and Lighting Controls | Educational Facility | 1% | 10% | 1% | 5% | 3% | 0 | 284 | 160.8 | 0% | 0% | 1% | 17% | 0% | 0% | 0% | 0% | 0 | 0 | 281.16 | 235.72 | 160.8 | 160.8 | 0.6385% | 10.85%
District | [D] Renewables - Solar PVEducational Facility | [D] Renewables - Solar PV | Educational Facility | 1% | 10% | 1% | 3% | 2% | 0 | 284 | 160.8 | 0% | 0% | 2% | 17% | 0% | 0% | 0% | 0% | 0 | 0 | 278.32 | 235.72 | 160.8 | 160.8 | 1.277% | 10.85%
District | [D] Appliance UpgradesLow Rise Office | [D] Appliance Upgrades | Low Rise Office | 1% | 2% | 0% | 1% | 0.5% | 0 | 204 | 119.2 | 0% | 0% | 2% | 4% | 0% | 0% | 0% | 0% | 0 | 0 | 199.92 | 195.84 | 119.2 | 119.2 | 1.262% | 2.525%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingLow Rise Office | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Low Rise Office | 1% | 10% | 1% | 10% | 5.5% | 0 | 204 | 119.2 | 0% | 0% | 1% | 8% | 1% | 12% | 0% | 0% | 0 | 0 | 201.96 | 187.68 | 118.008 | 104.896 | 1% | 9.475%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationLow Rise Office | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Low Rise Office | 1% | 10% | 1% | 10% | 5.5% | 0 | 204 | 119.2 | 0% | 0% | 8% | 15% | 15% | 20% | 0% | 0% | 0 | 0 | 187.68 | 173.4 | 101.32 | 95.36 | 10.58% | 16.84%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemLow Rise Office | [D] Domestic Hot Water - Low Carbon District Energy System | Low Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 204 | 119.2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 204 | 204 | 119.2 | 119.2 | -0% | -0%
District | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersLow Rise Office | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Low Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 204 | 119.2 | 0% | 0% | 0% | 0% | 2% | 15% | -0.5% | -3.75% | 0 | 0 | 204 | 204 | 116.816 | 101.32 | 0.7376% | 5.532%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemLow Rise Office | [D] Heating & Cooling Systems - Low Carbon District Energy System | Low Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 204 | 119.2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 204 | 204 | 119.2 | 119.2 | -0% | -0%
District | [D] Heating, Cooling, Ventilation Systems - Rooftop Air Source Heat Pump with Electric BaseboardLow Rise Office | [D] Heating, Cooling, Ventilation Systems - Rooftop Air Source Heat Pump with Electric Baseboard | Low Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 204 | 119.2 | 0% | 0% | 0% | 0% | 85% | 97% | -42.5% | -48.5% | 0 | 0 | 204 | 204 | 17.88 | 3.576 | 31.35% | 35.77%
District | [D] Lighting and Lighting ControlsLow Rise Office | [D] Lighting and Lighting Controls | Low Rise Office | 1% | 10% | 1% | 10% | 5.5% | 0 | 204 | 119.2 | 0% | 0% | 1% | 18% | 0% | 0% | 0% | 0% | 0 | 0 | 201.96 | 167.28 | 119.2 | 119.2 | 0.6312% | 11.36%
District | [D] Renewables - Solar PVLow Rise Office | [D] Renewables - Solar PV | Low Rise Office | 1% | 10% | 1% | 5% | 3% | 0 | 204 | 119.2 | 0% | 0% | 2% | 17% | 0% | 0% | 0% | 0% | 0 | 0 | 199.92 | 169.32 | 119.2 | 119.2 | 1.262% | 10.73%
District | [D] Renewables - Solar ThermalLow Rise Office | [D] Renewables - Solar Thermal | Low Rise Office | 1% | 10% | 1% | 5% | 3% | 0 | 204 | 119.2 | 0% | 0% | 0% | 0% | 2% | 10% | 0% | 0% | 0 | 0 | 204 | 204 | 116.816 | 107.28 | 0.7376% | 3.688%
District | [D] Appliance Upgrades & Lighting and Lighting ControlsLow Rise Rental Apartment | [D] Appliance Upgrades & Lighting and Lighting Controls | Low Rise Rental Apartment | 11% | 20% | 1% | 10% | 5.5% | 0 | 107 | 187.2 | 0% | 0% | 35% | 50% | 0% | 0% | 0% | 0% | 0 | 0 | 69.55 | 53.5 | 187.2 | 187.2 | 12.73% | 18.18%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingLow Rise Rental Apartment | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Low Rise Rental Apartment | 1% | 10% | 1% | 10% | 5.5% | 0 | 107 | 187.2 | 0% | 0% | 1% | 8% | 1% | 11% | 0% | 0% | 0 | 0 | 105.93 | 98.44 | 185.328 | 166.608 | 1% | 9.909%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationLow Rise Rental Apartment | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Low Rise Rental Apartment | 1% | 10% | 1% | 10% | 5.5% | 0 | 107 | 187.2 | 0% | 0% | 8% | 15% | 12% | 20% | 0% | 0% | 0 | 0 | 98.44 | 90.95 | 164.736 | 149.76 | 10.55% | 18.18%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemLow Rise Rental Apartment | [D] Domestic Hot Water - Low Carbon District Energy System | Low Rise Rental Apartment | 20% | 30% | 30% | 75% | 52.5% | 0 | 107 | 187.2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 107 | 107 | 187.2 | 187.2 | -0% | -0%
District | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersLow Rise Rental Apartment | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Low Rise Rental Apartment | 20% | 30% | 30% | 75% | 52.5% | 0 | 107 | 187.2 | 0% | 0% | 0% | 0% | 22% | 30% | -5.5% | -7.5% | 0 | 0 | 107 | 107 | 146.016 | 131.04 | 14% | 19.09%
District | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersLow Rise Rental Apartment | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Low Rise Rental Apartment | 1% | 10% | 5% | 20% | 12.5% | 0 | 107 | 187.2 | 100% | 100% | 0% | 0% | 0% | 0% | -1% | -7.5% | 0 | 0 | 107 | 107 | 187.2 | 187.2 | -0% | -0%
District | [D] Heating, Cooling, Ventilation Systems - Air Source Heat Pumps + Energy Recovery VentilatorsLow Rise Rental Apartment | [D] Heating, Cooling, Ventilation Systems - Air Source Heat Pumps + Energy Recovery Ventilators | Low Rise Rental Apartment | 20% | 30% | 30% | 75% | 52.5% | 0 | 107 | 187.2 | 0% | 0% | 0% | 0% | 70% | 80% | -35% | -40% | 0 | 0 | 107 | 107 | 56.16 | 37.44 | 44.54% | 50.9%
District | [D] Heating, Cooling, Ventilation Systems - Low Carbon District Energy System + Energy Recovery VentilatorsLow Rise Rental Apartment | [D] Heating, Cooling, Ventilation Systems - Low Carbon District Energy System + Energy Recovery Ventilators | Low Rise Rental Apartment | 20% | 30% | 30% | 75% | 52.5% | 0 | 107 | 187.2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 107 | 107 | 187.2 | 187.2 | -0% | -0%
District | [D] Heating, Cooling, Ventilation Systems - Ground Source Heat Pumps + Energy Recovery VentilatorsLow Rise Rental Apartment | [D] Heating, Cooling, Ventilation Systems - Ground Source Heat Pumps + Energy Recovery Ventilators | Low Rise Rental Apartment | 20% | 30% | 30% | 75% | 52.5% | 0 | 107 | 187.2 | 0% | 0% | 0% | 0% | 70% | 80% | -26.67% | -26.67% | 0 | 0 | 107 | 107 | 56.16 | 37.44 | 44.54% | 50.9%
District | [D] Renewables - Solar PVLow Rise Rental Apartment | [D] Renewables - Solar PV | Low Rise Rental Apartment | 1% | 10% | 1% | 5% | 3% | 0 | 107 | 187.2 | 0% | 0% | 2% | 30% | 0% | 0% | 0% | 0% | 0 | 0 | 104.86 | 74.9 | 187.2 | 187.2 | 0.7274% | 10.91%
District | [D] Renewables - Solar ThermalLow Rise Rental Apartment | [D] Renewables - Solar Thermal | Low Rise Rental Apartment | 1% | 10% | 1% | 5% | 3% | 0 | 107 | 187.2 | 0% | 0% | 0% | 0% | 2% | 10% | 0% | 0% | 0 | 0 | 107 | 107 | 183.456 | 168.48 | 1.273% | 6.363%
District | [D] Appliance UpgradesMid Rise Office | [D] Appliance Upgrades | Mid Rise Office | 1% | 2% | 0% | 1% | 0.5% | 0 | 219 | 216 | 0% | 0% | 2% | 4% | 0% | 0% | 0% | 0% | 0 | 0 | 214.62 | 210.24 | 216 | 216 | 1.007% | 2.014%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingMid Rise Office | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Mid Rise Office | 1% | 10% | 1% | 10% | 5.5% | 0 | 219 | 216 | 0% | 0% | 1% | 8% | 1% | 11% | 0% | 0% | 0 | 0 | 216.81 | 201.48 | 213.84 | 192.24 | 1% | 9.49%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationMid Rise Office | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Mid Rise Office | 1% | 10% | 1% | 10% | 5.5% | 0 | 219 | 216 | 0% | 0% | 8% | 15% | 14% | 20% | 0% | 0% | 0 | 0 | 201.48 | 186.15 | 185.76 | 172.8 | 10.98% | 17.48%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemMid Rise Office | [D] Domestic Hot Water - Low Carbon District Energy System | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 219 | 216 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 219 | 219 | 216 | 216 | -0% | -0%
District | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersMid Rise Office | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 219 | 216 | 0% | 0% | 0% | 0% | 2% | 15% | -0.5% | -3.75% | 0 | 0 | 219 | 219 | 211.68 | 183.6 | 0.9931% | 7.448%
District | [D] Heating & Cooling Systems - Air Source Heat PumpsMid Rise Office | [D] Heating & Cooling Systems - Air Source Heat Pumps | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 219 | 216 | 0% | 0% | 0% | 0% | 85% | 95% | -42.5% | -47.5% | 0 | 0 | 219 | 219 | 32.4 | 10.8 | 42.21% | 47.17%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemMid Rise Office | [D] Heating & Cooling Systems - Low Carbon District Energy System | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 219 | 216 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 219 | 219 | 216 | 216 | -0% | -0%
District | [D] Heating & Cooling Systems - Ground Source Heat PumpsMid Rise Office | [D] Heating & Cooling Systems - Ground Source Heat Pumps | Mid Rise Office | 20% | 30% | 30% | 75% | 52.5% | 0 | 219 | 216 | 0% | 0% | 0% | 0% | 85% | 95% | -28.33% | -31.67% | 0 | 0 | 219 | 219 | 32.4 | 10.8 | 42.21% | 47.17%
District | [D] Lighting and Lighting ControlsMid Rise Office | [D] Lighting and Lighting Controls | Mid Rise Office | 1% | 10% | 1% | 10% | 5.5% | 0 | 219 | 216 | 0% | 0% | 3% | 22% | 0% | 0% | 0% | 0% | 0 | 0 | 212.43 | 170.82 | 216 | 216 | 1.51% | 11.08%
District | [D] Renewables - Solar PVMid Rise Office | [D] Renewables - Solar PV | Mid Rise Office | 1% | 10% | 1% | 5% | 3% | 0 | 219 | 216 | 0% | 0% | 2% | 22% | 0% | 0% | 0% | 0% | 0 | 0 | 214.62 | 170.82 | 216 | 216 | 1.007% | 11.08%
District | [D] Renewables - Solar ThermalMid Rise Office | [D] Renewables - Solar Thermal | Mid Rise Office | 1% | 10% | 1% | 3% | 2% | 0 | 219 | 216 | 0% | 0% | 0% | 0% | 2% | 10% | 0% | 0% | 0 | 0 | 219 | 219 | 211.68 | 194.4 | 0.9931% | 4.966%
District | [D] Ventilation Systems - Energy Recovery Ventilator (ERV)Mid Rise Office | [D] Ventilation Systems - Energy Recovery Ventilator (ERV) | Mid Rise Office | 1% | 5% | 1% | 10% | 5.5% | 0 | 219 | 216 | 0% | 0% | 1% | 5% | 2% | 10% | 0% | 0% | 0 | 0 | 216.81 | 208.05 | 211.68 | 194.4 | 1.497% | 7.483%
District | [D] Appliance UpgradesMixed Use | [D] Appliance Upgrades | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 0 | 322 | 214.4 | 0% | 0% | 2% | 18% | 0% | 0% | 0% | 0% | 0 | 0 | 315.56 | 264.04 | 214.4 | 214.4 | 1.201% | 10.81%
District | [D] Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) Mixed Use | [D] Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) | Mixed Use | 11% | 20% | 11% | 20% | 15.5% | 0 | 322 | 214.4 | 0% | 0% | 8% | 15% | 14% | 20% | 0% | 0% | 0 | 0 | 296.24 | 273.7 | 184.384 | 171.52 | 10.4% | 17%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingMixed Use | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 0 | 322 | 214.4 | 0% | 0% | 1% | 8% | 1% | 12% | 0% | 0% | 0 | 0 | 318.78 | 296.24 | 212.256 | 188.672 | 1% | 9.599%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemMixed Use | [D] Domestic Hot Water - Low Carbon District Energy System | Mixed Use | 20% | 30% | 30% | 75% | 52.5% | 0 | 322 | 214.4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 322 | 322 | 214.4 | 214.4 | -0% | -0%
District | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water HeatersMixed Use | [D] Domestic Hot Water - Heat Pump and Electric Resistance Water Heaters | Mixed Use | 20% | 30% | 30% | 75% | 52.5% | 0 | 322 | 214.4 | 0% | 0% | 0% | 0% | 2% | 15% | -0.5% | -3.75% | 0 | 0 | 322 | 322 | 210.112 | 182.24 | 0.7994% | 5.996%
District | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersMixed Use | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Mixed Use | 1% | 10% | 5% | 20% | 12.5% | 0 | 322 | 214.4 | 100% | 100% | 0% | 0% | 0% | 0% | -1% | -7.5% | 0 | 0 | 322 | 322 | 214.4 | 214.4 | -0% | -0%
District | [D] Heating & Cooling Systems - Air Source Heat PumpsMixed Use | [D] Heating & Cooling Systems - Air Source Heat Pumps | Mixed Use | 20% | 30% | 30% | 75% | 52.5% | 0 | 322 | 214.4 | 0% | 0% | 0% | 0% | 70% | 80% | -35% | -40% | 0 | 0 | 322 | 322 | 64.32 | 42.88 | 27.98% | 31.98%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemMixed Use | [D] Heating & Cooling Systems - Low Carbon District Energy System | Mixed Use | 20% | 30% | 30% | 75% | 52.5% | 0 | 322 | 214.4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 322 | 322 | 214.4 | 214.4 | -0% | -0%
District | [D] Heating & Cooling Systems - Ground Source Heat PumpsMixed Use | [D] Heating & Cooling Systems - Ground Source Heat Pumps | Mixed Use | 20% | 30% | 30% | 75% | 52.5% | 0 | 322 | 214.4 | 0% | 0% | 0% | 0% | 70% | 80% | -23.33% | -26.67% | 0 | 0 | 322 | 322 | 64.32 | 42.88 | 27.98% | 31.98%
District | [D] Lighting and Lighting ControlsMixed Use | [D] Lighting and Lighting Controls | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 0 | 322 | 214.4 | 0% | 0% | 1% | 18% | 0% | 0% | 0% | 0% | 0 | 0 | 318.78 | 264.04 | 214.4 | 214.4 | 0.6003% | 10.81%
District | [D] Renewables - Solar PVMixed Use | [D] Renewables - Solar PV | Mixed Use | 1% | 10% | 1% | 5% | 3% | 0 | 322 | 214.4 | 0% | 0% | 2% | 18% | 0% | 0% | 0% | 0% | 0 | 0 | 315.56 | 264.04 | 214.4 | 214.4 | 1.201% | 10.81%
District | [D] Renewables - Solar ThermalMixed Use | [D] Renewables - Solar Thermal | Mixed Use | 1% | 10% | 1% | 5% | 3% | 0 | 322 | 214.4 | 0% | 0% | 0% | 0% | 2% | 10% | 0% | 0% | 0 | 0 | 322 | 322 | 210.112 | 192.96 | 0.7994% | 3.997%
District | [D] Ventilation System - Energy Recovery Ventilators (ERV)Mixed Use | [D] Ventilation System - Energy Recovery Ventilators (ERV) | Mixed Use | 1% | 10% | 1% | 10% | 5.5% | 0 | 322 | 214.4 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 318.78 | 305.9 | 212.256 | 203.68 | 1% | 5%
District | [D] Appliance Upgrades & Lighting and Lighting ControlsSingle Family Home Attached | [D] Appliance Upgrades & Lighting and Lighting Controls | Single Family Home Attached | 11% | 20% | 1% | 10% | 5.5% | 0 | 43 | 117.6 | 0% | 0% | 50% | 70% | 0% | 0% | 0% | 0% | 0 | 0 | 21.5 | 12.9 | 117.6 | 117.6 | 13.39% | 18.74%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingSingle Family Home Attached | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Single Family Home Attached | 1% | 10% | 1% | 10% | 5.5% | 0 | 43 | 117.6 | 0% | 0% | 1% | 8% | 1% | 11% | 0% | 0% | 0 | 0 | 42.57 | 39.56 | 116.424 | 104.664 | 1% | 10.2%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationSingle Family Home Attached | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Single Family Home Attached | 11% | 20% | 11% | 20% | 15.5% | 0 | 43 | 117.6 | 0% | 0% | 8% | 15% | 12% | 20% | 0% | 0% | 0 | 0 | 39.56 | 36.55 | 103.488 | 94.08 | 10.93% | 18.66%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemSingle Family Home Attached | [D] Domestic Hot Water - Low Carbon District Energy System | Single Family Home Attached | 20% | 30% | 30% | 75% | 52.5% | 0 | 43 | 117.6 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 43 | 43 | 117.6 | 117.6 | -0% | -0%
District | [D] Domestic Hot Water - Electric Water HeaterSingle Family Home Attached | [D] Domestic Hot Water - Electric Water Heater | Single Family Home Attached | 20% | 30% | 30% | 75% | 52.5% | 0 | 43 | 117.6 | 0% | 0% | 0% | 0% | 20% | 30% | -20% | -30% | 0 | 0 | 43 | 43 | 94.08 | 82.32 | 14.65% | 21.97%
District | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersSingle Family Home Attached | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Single Family Home Attached | 1% | 10% | 5% | 20% | 12.5% | 0 | 43 | 117.6 | 100% | 100% | 0% | 0% | 0% | 0% | -1% | -7.5% | 0 | 0 | 43 | 43 | 117.6 | 117.6 | -0% | -0%
District | [D] Heating & Cooling Systems - Air Source Heat PumpsSingle Family Home Attached | [D] Heating & Cooling Systems - Air Source Heat Pumps | Single Family Home Attached | 20% | 30% | 30% | 75% | 52.5% | 0 | 43 | 117.6 | 0% | 0% | 0% | 0% | 60% | 80% | -30% | -40% | 0 | 0 | 43 | 43 | 47.04 | 23.52 | 43.94% | 58.58%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemSingle Family Home Attached | [D] Heating & Cooling Systems - Low Carbon District Energy System | Single Family Home Attached | 20% | 30% | 30% | 75% | 52.5% | 0 | 43 | 117.6 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 43 | 43 | 117.6 | 117.6 | -0% | -0%
District | [D] Heating & Cooling Systems - Ground Source Heat PumpsSingle Family Home Attached | [D] Heating & Cooling Systems - Ground Source Heat Pumps | Single Family Home Attached | 20% | 30% | 30% | 75% | 52.5% | 0 | 43 | 117.6 | 0% | 0% | 0% | 0% | 60% | 80% | -20% | -26.67% | 0 | 0 | 43 | 43 | 47.04 | 23.52 | 43.94% | 58.58%
District | [D] Renewables - Solar PVSingle Family Home Attached | [D] Renewables - Solar PV | Single Family Home Attached | 1% | 10% | 1% | 5% | 3% | 0 | 43 | 117.6 | 0% | 0% | 3% | 40% | 0% | 0% | 0% | 0% | 0 | 0 | 41.71 | 25.8 | 117.6 | 117.6 | 0.8032% | 10.71%
District | [D] Renewables - Solar ThermalSingle Family Home Attached | [D] Renewables - Solar Thermal | Single Family Home Attached | 5% | 15% | 10% | 20% | 15% | 0 | 43 | 117.6 | 0% | 0% | 0% | 0% | 7% | 20% | 0% | 0% | 0 | 0 | 43 | 43 | 109.368 | 94.08 | 5.126% | 14.65%
District | [D] Ventilation System - Central Energy Recovery Ventilator (ERV)Single Family Home Attached | [D] Ventilation System - Central Energy Recovery Ventilator (ERV) | Single Family Home Attached | 1% | 5% | 1% | 5% | 3% | 0 | 43 | 117.6 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 42.57 | 40.85 | 116.424 | 111.72 | 1% | 5%
District | [D] Ventilation System - Local Energy Recovery Ventilator (ERV)Single Family Home Attached | [D] Ventilation System - Local Energy Recovery Ventilator (ERV) | Single Family Home Attached | 1% | 5% | 1% | 5% | 3% | 0 | 43 | 117.6 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 42.57 | 40.85 | 116.424 | 111.72 | 1% | 5%
District | [D] Appliance Upgrades & Lighting and Lighting ControlsSingle Family Home Detached | [D] Appliance Upgrades & Lighting and Lighting Controls | Single Family Home Detached | 11% | 20% | 1% | 10% | 5.5% | 0 | 38 | 162.4 | 0% | 0% | 70% | 80% | 0% | 0% | 0% | 0% | 0 | 0 | 11.4 | 7.6 | 162.4 | 162.4 | 13.27% | 15.17%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingSingle Family Home Detached | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Single Family Home Detached | 1% | 10% | 1% | 10% | 5.5% | 0 | 38 | 162.4 | 0% | 0% | 1% | 8% | 1% | 11% | 0% | 0% | 0 | 0 | 37.62 | 34.96 | 160.776 | 144.536 | 1% | 10.43%
District | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof InsulationSingle Family Home Detached | [D] Building Envelope - High Performance Glazing, Wall Insulation, & Roof Insulation | Single Family Home Detached | 11% | 20% | 11% | 20% | 15.5% | 0 | 38 | 162.4 | 0% | 0% | 8% | 15% | 12% | 20% | 0% | 0% | 0 | 0 | 34.96 | 32.3 | 142.912 | 129.92 | 11.24% | 19.05%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemSingle Family Home Detached | [D] Domestic Hot Water - Low Carbon District Energy System | Single Family Home Detached | 20% | 30% | 30% | 75% | 52.5% | 0 | 38 | 162.4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 38 | 38 | 162.4 | 162.4 | -0% | -0%
District | [D] Domestic Hot Water - Electric Water HeaterSingle Family Home Detached | [D] Domestic Hot Water - Electric Water Heater | Single Family Home Detached | 20% | 30% | 30% | 75% | 52.5% | 0 | 38 | 162.4 | 0% | 0% | 0% | 0% | 20% | 30% | -20% | -30% | 0 | 0 | 38 | 38 | 129.92 | 113.68 | 16.21% | 24.31%
District | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric DryersSingle Family Home Detached | [D] Gas Appliances - Electric and Induction Ranges & Heat Pump Electric Dryers | Single Family Home Detached | 1% | 10% | 5% | 20% | 12.5% | 0 | 38 | 162.4 | 100% | 100% | 0% | 0% | 0% | 0% | -1% | -7.5% | 0 | 0 | 38 | 38 | 162.4 | 162.4 | -0% | -0%
District | [D] Heating & Cooling Systems - Air Source Heat PumpsSingle Family Home Detached | [D] Heating & Cooling Systems - Air Source Heat Pumps | Single Family Home Detached | 20% | 30% | 30% | 75% | 52.5% | 0 | 38 | 162.4 | 0% | 0% | 0% | 0% | 60% | 80% | -30% | -40% | 0 | 0 | 38 | 38 | 64.96 | 32.48 | 48.62% | 64.83%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemSingle Family Home Detached | [D] Heating & Cooling Systems - Low Carbon District Energy System | Single Family Home Detached | 20% | 30% | 30% | 75% | 52.5% | 0 | 38 | 162.4 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 38 | 38 | 162.4 | 162.4 | -0% | -0%
District | [D] Heating & Cooling Systems - Ground Source Heat PumpsSingle Family Home Detached | [D] Heating & Cooling Systems - Ground Source Heat Pumps | Single Family Home Detached | 20% | 30% | 30% | 75% | 52.5% | 0 | 38 | 162.4 | 0% | 0% | 0% | 0% | 60% | 80% | -20% | -26.67% | 0 | 0 | 38.12 | 38 | 64.96 | 32.48 | 48.56% | 64.83%
District | [D] Renewables - Solar PVSingle Family Home Detached | [D] Renewables - Solar PV | Single Family Home Detached | 1% | 10% | 1% | 5% | 3% | 0 | 38 | 162.4 | 0% | 0% | 4% | 50% | 0% | 0% | 0% | 0% | 0 | 0 | 36.48 | 19 | 162.4 | 162.4 | 0.7585% | 9.481%
District | [D] Renewables - Solar ThermalSingle Family Home Detached | [D] Renewables - Solar Thermal | Single Family Home Detached | 5% | 15% | 10% | 20% | 15% | 0 | 38 | 162.4 | 0% | 0% | 0% | 0% | 6% | 18% | 0% | 0% | 0 | 0 | 38 | 38 | 152.656 | 133.168 | 4.862% | 14.59%
District | [D] Ventilation System - Central Energy Recovery Ventilator (ERV)Single Family Home Detached | [D] Ventilation System - Central Energy Recovery Ventilator (ERV) | Single Family Home Detached | 1% | 5% | 1% | 5% | 3% | 0 | 38 | 162.4 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 37.62 | 36.1 | 160.776 | 154.28 | 1% | 5%
District | [D] Ventilation System - Local Energy Recovery Ventilator (ERV)Single Family Home Detached | [D] Ventilation System - Local Energy Recovery Ventilator (ERV) | Single Family Home Detached | 1% | 5% | 1% | 5% | 3% | 0 | 38 | 162.4 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 37.62 | 36.1 | 160.776 | 154.28 | 1% | 5%
District | [D] Appliance UpgradesStrip Mall | [D] Appliance Upgrades | Strip Mall | 1% | 2% | 0% | 1% | 0.5% | 0 | 248 | 101.6 | 0% | 0% | 2% | 3% | 0% | 0% | 0% | 0% | 0 | 0 | 243.04 | 240.56 | 101.6 | 101.6 | 1.419% | 2.128%
District | [D] Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) Strip Mall | [D] Building Envelope - High Performance Envelope (Recladding, Air Sealing, New Insulation) | Strip Mall | 11% | 20% | 11% | 20% | 15.5% | 0 | 248 | 101.6 | 0% | 0% | 18% | 20% | 25% | 35% | 0% | 0% | 0 | 0 | 203.36 | 198.4 | 76.2 | 66.04 | 20.03% | 24.36%
District | [D] Building Envelope - High Performance Glazing with Enhanced Air SealingStrip Mall | [D] Building Envelope - High Performance Glazing with Enhanced Air Sealing | Strip Mall | 1% | 10% | 1% | 10% | 5.5% | 0 | 248 | 101.6 | 0% | 0% | 8% | 15% | 17% | 20% | 0% | 0% | 0 | 0 | 228.16 | 210.8 | 84.328 | 81.28 | 10.62% | 16.45%
District | [D] Domestic Hot Water - Low Carbon District Energy SystemStrip Mall | [D] Domestic Hot Water - Low Carbon District Energy System | Strip Mall | 20% | 30% | 30% | 75% | 52.5% | 0 | 248 | 101.6 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 248 | 248 | 101.6 | 101.6 | -0% | -0%
District | [D] Domestic Hot Water - Electric Water HeaterStrip Mall | [D] Domestic Hot Water - Electric Water Heater | Strip Mall | 20% | 30% | 30% | 75% | 52.5% | 0 | 248 | 101.6 | 0% | 0% | 0% | 0% | 2% | 15% | -2% | -15% | 0 | 0 | 248 | 248 | 99.568 | 86.36 | 0.5812% | 4.359%
District | [D] Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric HeatStrip Mall | [D] Heating & Cooling System - Rooftop Air Source Heat Pumps with Backup Electric Heat | Strip Mall | 20% | 30% | 30% | 75% | 52.5% | 0 | 248 | 101.6 | 0% | 0% | 0% | 0% | 85% | 95% | -42.5% | -47.5% | 0 | 0 | 248 | 248 | 15.24 | 5.08 | 24.7% | 27.61%
District | [D] Heating & Cooling Systems - Low Carbon District Energy SystemStrip Mall | [D] Heating & Cooling Systems - Low Carbon District Energy System | Strip Mall | 20% | 30% | 30% | 75% | 52.5% | 0 | 248 | 101.6 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 248 | 248 | 101.6 | 101.6 | -0% | -0%
District | [D] Lighting and Lighting ControlsStrip Mall | [D] Lighting and Lighting Controls | Strip Mall | 1% | 10% | 1% | 10% | 5.5% | 0 | 248 | 101.6 | 0% | 0% | 1% | 15% | 0% | 0% | 0% | 0% | 0 | 0 | 245.52 | 210.8 | 101.6 | 101.6 | 0.7094% | 10.64%
District | [D] Renewables - Solar PVStrip Mall | [D] Renewables - Solar PV | Strip Mall | 1% | 10% | 1% | 3% | 2% | 0 | 248 | 101.6 | 0% | 0% | 2% | 15% | 0% | 0% | 0% | 0% | 0 | 0 | 243.04 | 210.8 | 101.6 | 101.6 | 1.419% | 10.64%
District | [D] Renewables - Solar PVStrip Mall | [D] Renewables - Solar PV | Strip Mall | 1% | 10% | 1% | 3% | 2% | 0 | 248 | 101.6 | 0% | 0% | 2% | 15% | 0% | 0% | 0% | 0% | 0 | 0 | 243.04 | 210.8 | 101.6 | 101.6 | 1.419% | 10.64%
District | [D] Ventilation Systems - Energy Recovery Ventilator (ERV)Strip Mall | [D] Ventilation Systems - Energy Recovery Ventilator (ERV) | Strip Mall | 1% | 5% | 1% | 10% | 5.5% | 0 | 248 | 101.6 | 0% | 0% | 1% | 5% | 1% | 5% | 0% | 0% | 0 | 0 | 245.52 | 235.6 | 100.584 | 96.52 | 1% | 5%

## Drop Down Database (hidden)
Building Type | Yes/No | Year | Retrofit List - Dynamic | Building Types with Gas Appliances
#NAME? | Yes | 2025 | #NAME? | #NAME?
#NAME? | No | 2026 |  | #NAME?
#NAME? |  | 2027 |  | #NAME?
#NAME? |  | 2028 |  | #NAME?
#NAME? |  | 2029 |  | #NAME?
#NAME? |  | 2030 |  | #NAME?
#NAME? |  | 2031
#NAME? |  | 2032
#NAME? |  | 2033
#NAME? |  | 2034
#NAME? |  | 2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050